## Slide 1
Milan Stojanovic, Purdue University
March 2nd , 2021
Final Design of the INTT Ladder and Production Readiness Review (PRR)
WBS: 3.01
Ladders Evaluation and Classification
March 2nd, 2021

## Slide 2: Overview
Evolution
  2017 – Half-ladders Prototype 1
  2019 – Half-ladders Prototype 2
2021 – Ladder Pre-Production
Ladder testing & performance
  Monitoring
Half-ladder
1 HDI
26 chips
2 Sensors
Ladder
2 HDIs
52 chips
4 Sensors
March 2nd, 2021

## Slide 3: 2017 – Prototype Half-ladder
Testing achieved:
Source test
External Trigger Scintillator
Beam test
3 Half-ladders built at BNL
Stave is aluminum plate
Sensors Table
Sensor A
Sensor B
HDI
Chips
March 2nd, 2021

## Slide 4: 2017 – Prototype Half-ladder
90Sr
Module#3
Scintillator
90Sr illumination focuses on Chip16.
  3mm-thick scintillator was put in front of half-ladder.
Source Test Setup at BNL
Sensors
March 2nd, 2021
Half-ladder#3

## Slide 5
2017 – Prototype: Source test
90Sr Source
Chip26
Chip25
Chip24
Chip23
Chip22
Chip21
Chip20
Chip19
Chip18
Chip17
Chip16
Chip15
Chip14
Chip13
Chip12
Chip11
Chip10
Chip9
Chip8
Chip7
Chip6
Chip5
Chip4
Chip3
Chip2
Chip1
0
127
0
0
127
127
0
127
masked
masked
March 2nd, 2021
hits versus channel id for each strip

## Slide 6
2017 – Prototype: External Trigger Scintillator
90Sr Source + Scintillator
Chip26
Chip25
Chip24
Chip23
Chip22
Chip21
Chip20
Chip19
Chip18
Chip17
Chip16
Chip15
Chip14
Chip13
Chip12
Chip11
Chip10
Chip9
Chip8
Chip7
Chip6
Chip5
Chip4
Chip3
Chip2
Chip1
hits versus channel id for each strip
0
127
0
0
127
127
0
127
masked
masked
March 2nd, 2021

## Slide 7
First prototypes built on aluminum plates.
Beam Test 2018
March 2nd, 2021

## Slide 8
Beam Test 2018
Proton beam – 120 GeV
Half-ladder #3
X-axis: # of hits Y-axis: channel number
Very good signal observed
Half-lader #2
Half-ladder #1
March 2nd, 2021

## Slide 9
Beam Test 2018
Very good signal observed
Proton beam – 120 GeV
X-axis: # of hits Y-axis: channel number
Half-ladder #3
Half-lader #2
Half-ladder #1
With bricks
March 2nd, 2021

## Slide 10: 2019 – Prototype Half-ladders
March 2nd, 2021
4 half-ladders built on carbon fiber plates.

## Slide 11: 2021 Ladder Pre-production
March 2nd, 2021

## Slide 12: 2021 Pre-production
Tracking System: MVTX+INTT+TPC
7 Ladders were built at BNL
Three stages of measurement:
  HDIs-Chips (regulator 2.5V)
  HDIs-Chips-Sensors (regulator 2.5V)
  Encapsulated (regulator 3.0V)
March 2nd, 2021

## Slide 13: 2021 Ladder testing
Temperature
BV1B
BV1A
ROC
Conversion
cable
March 2nd, 2021

## Slide 14: 2021 Ladder testing
Temperature
Silicon Bias
BV1A
BV1B
March 2nd, 2021

## Slide 15: 2021 Ladder testing
March 2nd, 2021

## Slide 16: 2021 Pre-production Status of the Ladder
March 2nd, 2021

## Slide 17: 2021 Bench Test Performance
PPB2-L5 South - Calibration plots
x – amplitude; y – ADC
HDIs-Chips
HDIs-Chips-Sensors
Encapsulated
March 2nd, 2021

## Slide 18: 2021 Bench Test Performance
PPB2-L5 South - Calibration plots
x – Channel; y – amplitude
HDIs-Chips
HDIs-Chips-Sensors
Encapsulated
March 2nd, 2021

## Slide 19: 2021 Bench Test Performance
PPB2-L5 South - Calibration plots
x – channel; y – # of entries
HDIs-Chips
HDIs-Chips-Sensors
Encapsulated
March 2nd, 2021

## Slide 20: 2021 Test Web Monitoring
Wiki page for test monitoring: https://wiki.bnl.gov/sPHENIX/index.php/Assembly_at_BNL
March 2nd, 2021

## Slide 21: 2021 Automatic Source Test Design
March 2nd, 2021
Removable endstop
Stave + ladder
Ladder support and holder
Radiation source
Linear slide rail and stepper motor
PMT support
Aluminum frame
PMT and Scintillator

## Slide 22: Ladder Evaluation
Ladder evaluation is based:
Calibration
Amplitude vs Channel ID
# of entries for each Channel
Automatic source test (not performed yet)
Classification is based on working live/dead channels from evaluation test
March 2nd, 2021

## Slide 23: Summary
7 ladders produced
All tests showed ladder work properly
Consistent performance in every assembly step
Status and test monitoring available on-line
For final evaluation we need automatic source test
Ready for ladder mass-production
March 2nd, 2021