## Slide 1: About LAPPD (reminder)
MPC-PMT characterized by:
  Large size (20 x 20 cm2)
  Reasonable cost
  Fine time resolution:
  ~ 32 ps per single photoelectron
  (V. Vagnoni , private comm.)
  NOW good control of the QE, reproducibility & uniformity
  Still magnetic field issues open
  Already commercialized with strip r-o electrodes (GEN 1)
  Prototyping for resistive anode with capacitively coupling to any r-o pattern (GEN 2)  sub-mm space res. with adequate pad size

## Slide 2: WHY ?
Not yet a fully consolidate option for photon detector in Cherenkov detectors @ EIC
INFN is undertaking a systematic effort to validate SiPMs
  Nevertheless:
    Stopping points?
    Adequate only for Forward RICH ?
LAPPDs, a possible option
  Also synergies with TOF measurements

## Slide 3: LAPPD, our plans
INFN lab activity will only start in the last trimester of 2021
  New postdoc
  Dedicated electronics
Nevertheless, LAPPD option has to enter as alternative in ATHENA proposal (aa consolidation element)
  During the proposal period we can provide:
    Data for simulation
    Data for costing
Ready to collaborate in any form with other EIC physicists aiming at demonstrating LAPPD as valid option for single photon detection at EIC