## Slide 1: PID chat w/ SIDIS
Thomas K Hemmick
Warning:
Possibly Bizarre Amalgam of Old Slides
Meant to spur discussion more than be a coherent presentation

## Slide 3: PID ~ Velocity
p = mgb E = mg velocity(b) measurement yields mass.
Direct measurement:
  Record signal time at multiple locations, calculate v.
  “Fast” detector = low transit time spread (most easily achieved at small transit time)
Velocity-dependent interaction(s) with detector:
  Specific Ionization (aka )
  Cherenkov Radiation:
    qC measured wrt track direction.
    Thus dependent upon deliverables from tracking
  Bremsstrahlung:
  Transition Radiation:
eID mechanisms
TOF covered well in prior presentations, not repeated here

## Slide 4: Cartoonish eta
Layout vs capability
  Discussion order:
    Central arm
    Electron arm
    Hadron arm

## Slide 5: Time-of-Flight (everywhere?)
Direct measurements of velocity require a fast charge collection device.
The time resolution is automatically helped by small devices:
  LGAD: Low Gain Avalanche Device. Instantly small.
  MCP: Micro Channel Plate  LAPPD (Large Area Picosecond Photon Detector)
TOF can be standalone.
TOF can also be intrinsic to tracking in the barrel (LGAD (LAPPD field-limited) )
TOF can also be intrinsic to photo-detectors (DIRC/mRICH/dRICH Possible LAPPD)
MCP: Micro Channel Plate

## Slide 6
Central Arm Principal Technology: DIRC
6
:
Generic reference design: 1m barrel radius, 16 sectors
176 bars: synthetic fused silica,17mm (T) ´ 32mm (W) ´ 4200mm (L)
Photo sensors: MCP-PMTs -3x3mm2 pixels
hpDIRC ala eRD14
At normal incidence, Cerenkov light is internally reflected for
Cerenkov angle preserved if bars meticulously flat with 90 degree corners.
Spectacularly compact PID device with photon detection at end.
Kaon threshold = 0.47 GeV/c
Curling Limit pT = 0.45 GeV/c
What about lower momentum?

## Slide 7
P < 0.5 GeV/c
1.6X
3.6X
Restate the problem:
DIRC has low-p limitations:
  Curl Up (0.45 GeV/c)
  Kaon threshold (0.47 GeV/c)
Rather than lower the field:
  PID at low radius.
  dE/dx separations huge!
    1.6X pi-K
    2.25X K-p
  GridPIX
    Established
    Robust
    Excellent tracking
Dual Approach:
Standalone Garfield (optimize detector)
GEANT (integrate into full simulation)

## Slide 8: Low Momentum PID Idea???
dE/dx Device (below 500 MeV)
GridPIX
membrane
High magnetic field curls low(er) momentum particles.
  Option #1: We don’t care about them. (bad option)
  Option #2: Lower the B-field for “special runs”. (poor option)
  Option #3: PID on these particles BEFORE they curl up.
Mostly

## Slide 9: High Momentum PID Idea???
dE/dx Device (below 500 MeV)
GridPIX
membrane
Mostly
dE/dx Device (beyond 6 GeV)
GridPIX
membrane

## Slide 10: High & Low Momentum PID Idea???
Mostly
dE/dx Device (beyond 6 GeV)
GridPIX
membrane
LGAD:
TOF & P.H.?

## Slide 11: Anticipated dE/dx Resolution
Lehraus Plot
Using 5.4 as a standard TPC
  5.4*(0.25)-0.37 = 9.0
Measured for GridPIX (truncated Mean)
  4.1% at 1 meter
  4.1*(0.25)-0.37 = 6.85
    This was the prior assumption quoted by us.
Roughly 20 sigma at 0.5 GeV/c
Useful range overlaps with DIRC
9.0%
K-p
p-K
6.85%
K-p
p-K
Momentum
Momentum
#s
#s

## Slide 12: Overly Simplified Momentum Resolution
Figure of Merit:
Can be compared to Silicon with detailed Monte Carlo
Here is simple-minded estimate
  Gas:
    Including efficiency ~3000 electrons (minimum!) per track
    Each suffers digitization (s = 55 mm/sqrt(12) = 16 mm)
    Diffusion(Length) =
      D(2cm) = 35 mm  FOM = 0.70 mm
      D(25cm) = 125 mm  FOM = 2.3 mm
      D(50cm) = 176 mm  FOM = 3.2 mm
      D(100cm) = 250 mm  FOM = 4.6 mm
  Although ignoring many significant effects, initial result is on the order of the layers of silicon.
Noon meeting with some Silicon Tracker Experts

## Slide 13
Electron Arm: Modular RICH
Cherenkov radiator
(Aerogel) refractive index, n = 1.03
Length of the radiator, L = 3cm
lens with focal length, 𝑓= 6”
Photon Detector
3 mm pixel size
NOTE: Similar performance to aerogel in dRICH
Hadron ID requirements relaxed…aerogel only
Additionally require eID ~ 4GeV/c
Modular RICH focused by Fresnel Lens
  Sharp image improves resolution.
  Transmission of lens combats dispersion
Provides TOF with suitable readout device (LAPPD)

## Slide 14: Speculative HBD++ for eID
microMEGAS provide the smallest gas length.
Gain from any or all of three layers:
  Gain from GEM
  Gain from m1
  Gain from m2
m1
m2
Conceptual Idea
G
HBD: Phenix
HBD+: Gem + 1-stage mM gain
HBD++: GEM _ 2-stage mM gain
Presently no group is following this
However, Received Email contact:
Possible interest from Indian group…

## Slide 15
Hadron End: Dual RICH
Cherenkov radiator
○ Refractive Index
n = 1.02 (aerogel) 1.0008 (C2F6)
○ Length of the radiator
L = 4 cm (aerogel) , 160 cm (C2F6)
Mirrors
Photon Detector
3 mm pixel size; 200-500 nm MAPMT
Particle Generation
Originate from the vertex
Exquisite detail in simulation.
AI-based optimization.
Uses constant external angular resolution assumption.
Similar external constraint assumed as deduced for separate gas & aerogel RICHes
Tracking maybe tolerates ~2X sim (0.5 – 1.0 mrad)
NOTE: PMTs to the side makes optical aberration (“Emission”) dominant

## Slide 16: eID by Transition Radiation (TRD)
“Threshold detector” (TR X-rays produced or not)
Pmin ~ 1 GeV (rejection ~constant at higher momentum)
1: Make TR photons:
Index, n, change
X-ray regime
Film, foam, fleece
2: Layered to get more photons
3: ID TR photons by energy/pos
4: Reject Pions
Balance between X0 and rejection

## Slide 17: Summary
All PID technology has a “dynamic range”
Most of the locations require multiple/complementary solutions.
Complex phase space…

## Slide 18
BACKUP SLIDES

## Slide 19: TOF @ EIC: Available space
PID from TOF requires:
  Time resolution.
  Maximum path length.
Known ring makes size restrictions!
  Civil construction already there.
  One ring outsize the detector.
Practical Implementation:
  Tempting to assume time resolution scales as
  Extreme care required to minimize or eliminate correlated errors (e.g. “start clock jitter”)

## Slide 20: Cherenkov Light
Cherenkov Angle determines b
Makes a circle (ring)
Ellipse if mirror tilted

## Slide 21: hpDIRC Performance Simulations
Original BaBar DIRC was effectively “proximity focused”
hpDIRC section creates focused ring improving resolution.
Excellent match to EIC needs.
Strict requirements on “correlated terms”, (e.g. angular resolution of tracking)
Works with either standard tracking solution.

## Slide 22: eID by Hadron Blind Detector
PHENIX HBD optimized for 1e-vs-2e separation.
  20 photoelectrons vs 40 photelectrons
Non-zero hadron response.
Re-optimize for EIC??
electron
Unfocused Threshold
Cherenkov
Fractional Contribution to signal
Pion Signals Simulated
1st Gap Dominates!
Limited by 1st Gap
Garfield + Fast Monte Carlo

## Slide 23
Compact High Momentum GEM RICH
1m of CF4 radiator at 1.003 bar (slightly overpressure)
CsI Photocathode on top GEM
Mirror in deep UV -> MgF2 coating
Single Photon Capability ->quintuple GEM stack with APV25-SRS
Particles ~perpendicularly incident on spherical mirror, focused onto a GEM stack directly
OK
hmm
Performance from Parameterized Test Beam Data
p
p
Windowless Photodetector!
lmin down to gas transparency
Low l is where the light is.
Brightest Cherenkov Ever!