## Slide 1: mRICH+LAPPD Test Fermilab from May 25 to June 16, 2021
Xiaochun He, GSU, for
Teams: BNL, ANL, Stony Brook, GSU, FAMU, Howard Univ, Texas Southern, Incom

## Slide 3
Led by Murad Sarsour

## Slide 4: RICH-based PID detectors for EIC need single-photon capable photosensors with good position resolution and working in magnetic field

## Slide 5: Goals
New photosensor test for mRICH -> LAPPD
Test and optimize the location of the photosensor plane for mRICH
First test of mRICH performance with tracking capability
This is the third mRICH test at Fermilab

## Slide 6: LAPPD – Large Area Picosecond Photodetector

## Slide 8: Pixelated Readout Design – Unique in This Test
4mm x 4mm pixel
3mm x 3mm pixel

## Slide 9: Pixelated Readout Design
3mm x 3mm pixel
Lots of cables

## Slide 10
Front GEM tracker
LAPPD Setup
Back GEM tracker
MCP-PMT
The front GEM tracker will be sent to JLab for another test in late August

## Slide 11: Laser Scan # Pixel response # Channel Map

## Slide 12
Signal waveform recorded by CAEN digitizer

## Slide 13: mRICH-like Test Setup
Aerogel + lens holder assembly
View from LAPPD side

## Slide 14: Another Single Photo Source – Aspherical Lens

## Slide 15: Unique and Flexible Setup (not to scale)
beam
LAPPD
Cherenkov light from lens reflected from its back and reach to LAPPD

## Slide 16: Snap Shots from Online Monitoring (an example)
Recorded by my phone
Likely a single-photon hit

## Slide 17: Brief Summary
We had a first beam test of a LAPPD from Income, mainly led by BNL team.
Several photon sources have been used during the test: laser, photons from LAPPD glass window, Aerogel (mRICH like), aspherical lens, for characterizing the LAPPD property.
We had an issue of synchronizing waveform digitizers in our readout which may prevent us from getting quantitative results from this test.
We didn’t get a chance to integrate the GEM tracker in our readout.
We didn’t get a chance take low energy beams (~ 8 GeV/c).
Data analysis continues led by Mickey Chiu with a group of students.
Future test of LAPPD will be needed to verify its performance for EIC RICH-based PID detectors.

## Slide 18
Thanks go to Fermilab for continuing providing the service of beam tests!

## Slide 19: Setup
GEM tracking stations
LAPPD test stand
Aerogel + Fresnel lens to be mounted inside of the LAPPD test stand

## Slide 20
Aerogel
+
Lens
Assembly
At Fermilab