## Slide 1: PHENIX Run-15
Douglas Fields
University of New Mexico
For the PHENIX Collaboration

## Slide 2: Run-15 BUP
p+p @ 200 GeV with transverse polarization for 9 weeks [Physics driven goal is 50 pb−1 recorded within |z| < 40 cm and <P> = 60%]
p+Au @ 200 GeV with transverse polarization of the proton for 5 weeks [Physics driven goal is 190 nb−1 sampled within |z| < 40 cm and <P> = 60%.]
p+Al @ 200 GeV with transverse polarization of the proton for 2 weeks [Physics driven goal is 450 nb−1 sampled within |z| < 40 cm and <P> = 60%]

## Slide 3: p+p Luminosity and FoM Goals
Lumi
FoM
…it was the epoch of incredulity…

## Slide 4: p+Au Luminosity and FoM Goals
Lumi
FoM
MPC damage

## Slide 5: p+Al Luminosity and FoM Goals
Lumi
FoM

## Slide 6: Yellow Pre-fires, etc.
Store 18969?, April 30 - ???
  Tripped LV/HV in MPC-EX, 20% increase in bias current, MPC was off.
Store 19050, May 11 - Pre-fire 111x111
  MPC South mostly gone, MPC North damaged
Store 19116, May 28 - Pre-fire 12x12 store
  No additional damage
Store 19118, May 28 - Pre-fire 111x111
  No additional damage
Store 19134, June 1 - Pre-fire 111x111
  Killed remaining MPC both sides
Store 19139, June 2 - ???
  Tripped 3 out of 4 MPC-EX LV modules and all HV
Matin L. Purschke

## Slide 7: MPC

## Slide 8: MPC Damage
19050
May 11
Damaged South
Impacted North
19116/18
May 28
We got lucky
No addt’l damage
19134
June 1
The end of the MPC in Run 15
South
North
Store
Matin L. Purschke

## Slide 9
MPC Preamp Failures
Built JFET “stress test” jig.
Testing confirms that the published “absolute max” gate current of 10mA holds true even for very short current pulses.
Assuming normal operation of the APD this corresponds to roughly 0.5mW of optical power seen by the APD.
Next we will test some possible protection circuits.
Update:

## Slide 10: MPC Repair and Modification
Replacing JFET 2SK932 seems to repair the preamp (no APD damage).
  So far 6/6 successful
Also tested new protection circuit using BAS416 diode and resistor in series
  Compared to last trials in 2012, the BAS416 has 1000x lower leakage current, seems to do the trick
  Noise increases a little, and amplitude drops a little. Noise proportional to resistor value, but increases protection.
  Should handle at least 400x more light (0 ohm resistor) to full-scale (100 ohm)

## Slide 11: The MPC-EX Detector
A combined charged particle tracker and EM pre-shower detector – dual gain readout allows sensitivity to MIPs and full energy EM showers.
p0 rejection (direct photons)
p0 reconstruction out to >80GeV
Charged track identification
3.1<h<3.8

## Slide 12: MPC-EX in Run 15
LV Distribution Boards
Both North and South MPC-EX detectors were installed a few weeks before the run began.
Work on the readout continued into the second half of the p+p run.
Successfully began collecting data on March 17.
Offline analysis is on-going.

## Slide 13
MPC-EX LV Distribution Controller
Communication Failure
We now have all active components and cable for retrofit in hand.
A small pc board for mounting the connector is on order.
We will inspect / test the three functioning controllers and do post mortem on the failed one as soon as they become available.
New boards will be made with these new components.
We will then run control cables to the ADAM relays in the bridge racks and modify the LV GUIs.
Update:

## Slide 14: Refurbished F/VTX
VTX pixels and Strip-pixels were refurbished for Run 14.
Improved cooling, environment containment, etc.
FVTX ran well for Run 15.
Together, provides heavy flavor program in PHENIX (DCA).
And…

## Slide 15: FVTX Multiplicity Trigger
Slide from Wei Li, Rice University

## Slide 16: FVTX Multiplicity Trigger
Trigger : #track > Threshold
~ 3/4 active wedges
Online Coarse Track

## Slide 17: Run15 Integrated FVTX Trigger
pp
pAu
pAl
 | pp (AND+OR) | pAu (South) | pAl (South)
# Trigger | 500M | 300M | 90M
Purity | 0.10 | 0.8 | 0.60
# of High Mult Event | 50M | 240M | 54M

## Slide 18: ZDC_N&FVTX_HighMult Trigger
p
A
p+
n
p/n/A
FVTX
ZDC
Implemented in the middle of pAl run to explore multiplicity dependence of forward Neutron Asymmetry.

## Slide 19: FVTX Multiplicity Trigger
Run 15 p+p
≥12
≥14
≥16
≥18
MB
Run 15 p+Au
Run 15 p+p
Run 15 p+Au
Au-going direction
Has the ability to tune for rejection and purity.
Collected sufficient triggers in p+p, p+Au and p+Al.

## Slide 20: Silicon
Barrel 2 ladders 4,7,8,9,10, and 11 have been impacted
W
E
Consistent with a hit in the upper-east quadrant
Matin L. Purschke
After a further event, we have turned off the FVTX and VTX…

## Slide 21
7/26/2015
rachid.nouicer@bnl.gov
Barrel: B3
Notes: 21
21

## Slide 22
Outline
Status: VTX-Stripixel: WEST-B3
Ladder/Module |  | Module #1 | Module #2 | Module #3 | Module #4 | Module #5 | Module #6
00 | B3L00 |  |  |  |  |  | 
01 | B3L01 |  |  |  |  |  | 
02 | B3L02 |  |  |  |  |  | 
03 | B3L03 |  |  |  |  |  | 
04 | B3L04 |  |  |  |  |  | 
05 | B3L05 |  |  |  |  |  | 
06 | B3L06 |  |  |  |  |  | 
07 | B3L07 |  |  |  |  |  | 
08 | B3L08 |  |  |  |  |  | 
09 | B3L09 |  |  |  |  |  | 
10 | B3L10 |  |  |  |  |  | 
11 | B3L11 |  |  |  |  |  | 
Good Module
bad Module
50% Dead Module
Notes: 22
Le plan de l’expose se presente de la manière suivante :

## Slide 23
Outline
New Configuration : VTX-Stripixel: WEST-B3
Ladder/Module |  | Module #1 | Module #2 | Module #3 | Module #4 | Module #5 | Module #6
00 | B3L00 |  |  |  |  |  | 
01 | B3L01 |  |  |  |  |  | 
02 | B3L10 |  |  |  |  |  | 
03 | B3L11 |  |  |  |  |  | 
04 | B3L04 |  |  |  |  |  | 
05 | B3L05 |  |  |  |  |  | 
06 | B3L06 |  |  |  |  |  | 
07 | B3L07 |  |  |  |  |  | 
08 | B3L08 |  |  |  |  |  | 
09 | B3L09 |  |  |  |  |  | 
10 | B3L03 |  |  |  |  |  | 
11 | B3L02 |  |  |  |  |  | 
Good Module
bad Module
50% Dead Module
Notes: 23
Le plan de l’expose se presente de la manière suivante :

## Slide 24
Outline
Status: VTX-Stripixel: EAST-B3
Ladder/Module |  | Module #1 | Module #2 | Module #3 | Module #4 | Module #5 | Module #6
12 | B3L12 |  |  |  |  |  | 
13 | B3L13 |  |  |  |  |  | 
14 | B3L14 |  |  |  |  |  | 
15 | B3L15 |  |  |  |  |  | 
16 | B3L16 |  |  |  |  |  | 
17 | B3L17 |  |  |  |  |  | 
18 | B3L18 |  |  |  |  |  | 
19 | B3L19 |  |  |  |  |  | 
20 | B3L20 |  |  |  |  |  | 
21 | B3L21 |  |  |  |  |  | 
22 | B3L22 |  |  |  |  |  | 
23 | B3L23 |  |  |  |  |  | 
Good Module
bad Module
50% Dead Module
Notes: 24
Le plan de l’expose se presente de la manière suivante :

## Slide 25
Outline
New Configuration: VTX-Stripixel: EAST-B3
Ladder/Module |  | Module #1 | Module #2 | Module #3 | Module #4 | Module #5 | Module #6
12 | B3L17 |  |  |  |  |  | 
13 | B3L18 |  |  |  |  |  | 
14 | B3L19 |  |  |  |  |  | 
15 | B3L15 |  |  |  |  |  | 
16 | B3L16 |  |  |  |  |  | 
17 | B3L20 |  |  |  |  |  | 
18 | B3L21 |  |  |  |  |  | 
19 | B3L14 |  |  |  |  |  | 
20 | B3L13 |  |  |  |  |  | 
21 | B3L12 |  |  |  |  |  | 
22 | B3L22 |  |  |  |  |  | 
23 | B3L23 |  |  |  |  |  | 
Good Module
bad Module
50% Dead Module
Notes: 25
Le plan de l’expose se presente de la manière suivante :

## Slide 26
7/26/2015
rachid.nouicer@bnl.gov
Barrel: B2
Notes: 26
26

## Slide 27
Outline
Status: VTX-Stripixel: WEST-B2
Ladder/Module |  | Module #1 | Module #2 | Module #3 | Module #4 | Module #5
00 | B2L00 |  |  |  |  | 
01 | B2L01 |  |  |  |  | 
02 | B2L02 |  |  |  |  | 
03 | B2L03 |  |  |  |  | 
04 | B2L04 |  |  |  |  | 
05 | B2L05 |  |  |  |  | 
06 | B2L06 |  |  |  |  | 
07 | B2L07 |  |  |  |  | 
Good Module
bad Module
50% Dead Module
Notes: 27
Le plan de l’expose se presente de la manière suivante :

## Slide 28
Outline
New Configuration: VTX-Stripixel: WEST-B2
Ladder/Module |  | Module #1 | Module #2 | Module #3 | Module #4 | Module #5
00 | B2L01 |  |  |  |  | 
01 | B2L03 |  |  |  |  | 
02 | B2L02 |  |  |  |  | 
03 | B2L00 |  |  |  |  | 
04 | B2L04 |  |  |  |  | 
05 | B2L14 |  |  |  |  | 
06 | B2L06 |  |  |  |  | 
07 | B2L05 |  |  |  |  | 
Good Module
bad Module
50% Dead Module
Notes: 28
Le plan de l’expose se presente de la manière suivante :

## Slide 29
Outline
Status: VTX-Stripixel: EAST-B2
Ladder/Module |  | Module #1 | Module #2 | Module #3 | Module #4 | Module #5
08 | B2L08 |  |  |  |  | 
09 | B2L09 |  |  |  |  | 
10 | B2L10 |  |  |  |  | 
11 | B2L11 |  |  |  |  | 
12 | B2L12 |  |  |  |  | 
13 | B2L13 |  |  |  |  | 
14 | B2L14 |  |  |  |  | 
15 | B2L15 |  |  |  |  | 
Good Module
bad Module
50% Dead Module
Notes: 29
Le plan de l’expose se presente de la manière suivante :

## Slide 30
Outline
New Configuration: VTX-Stripixel: EAST-B
Ladder/Module |  | Module #1 | Module #2 | Module #3 | Module #4 | Module #5
08 | B2L08 |  |  |  |  | 
09 | B2L09 |  |  |  |  | 
10 | B2L10 |  |  |  |  | 
11 | B2L11 |  |  |  |  | 
12 | B2L12 |  |  |  |  | 
13 | B2L13 |  |  |  |  | 
14 | B2L07 |  |  |  |  | 
15 | B2L15 |  |  |  |  | 
X
  4 silicon modules from B2-east may be used to improve B2-west
Notes: 30
Le plan de l’expose se presente de la manière suivante :

## Slide 31: Local Polarimeter
p
n
ZDC
6.5cm
3cm
Blue beam angle : 1.66 mrad (3.6mrad in physics runs)
Angle btwn Blue and Yellow : 2mrad
Analysis by Minjung Kim (SNU/RIKEN)
Nicely centered!

## Slide 32: Dedicated runs
SMD TDC
Rear Veto ADC
1st Attempt (May 21st)
2nd Attempt (June 5th)
Neutrons from collision
Charged backgrounds from Yellow beam
SMD Channel from Left to Middle
SMD Channel from Left to Middle
Charged backgrounds are relatively smaller !!

## Slide 33: Summary
Run 15 p+p was very successful, despite a delayed start with our new detector MPC-EX.
Run 15 p+Au was also successful, despite the loss of the MPC South early in the run and both MPCs later.
We took data from Run 15 p+Al, but without the MPC/EX physics.