## Slide 1: MVTX Fiber Routing Plan, 1 of 6 EBDC shown
2E1 Rack
DAQ Racks
EBDC
FELIX
48F MTP Cable MTP coupler LC coupler LC cable VTxx Transceiver
sPHENIX
East Platform
RU x8
...
Patch panel (1E2)
Exp. disconnect
1x 1U space
MTP (F)
3-10 m
58m MTP (F)
MTP (M)
MTP (F)
LC (M)
DAQ Room patch sPHENIX IR
~3m
15m
One-way optical loss: 1.5dB
MTP (M)
MTP (F)
Custom Fiber
Fanout Cassette
12 MTP-MTP(48F)
1U Feedthrough
Panel

## Slide 2: Custom Fanout Cassette
2x 48F MTP(M)
2x 24F LC(F)
24 24 = 48x LC
2x 48F
Cassette
Custom Fiber Cassette:
2 (48F) MTP (M) in back
4 x 12 LC (F) connectors in front
2 (48F) Hydra fanout cables MTP-LC
24
24

## Slide 3: EBDC setup
Supermicro A+ Server 4023S-TRT as in Martin’s 20x server pilot racks
Support 2x PCIe Gen3 x16 full length full height slots on CPU1 Each for one FELIX
3x PCIe Gen3 x8 slots, one used for high speed data network (Mellanox ConnectX-5 EN MCX512A-ACAT - 25Gb 2-Port SFP28 PCIe3.0 x8 NIC)
FELIX1 FELIX2 NIC