## Slide 1: Characterization of the collinear wakefield accelerator module
drhgfdjhngngfmhgmghmghjmghfmf
ATF User meeting, January 20, 2022
A new proposal:
Funded by LDRD at ANL
PI: A. Zholents, APS/ANL
W. Jansma, S. Lee, A. Nassiri, S. Sorsher, K. Suthar, E. Trakhtenberg, G. Waldschmidt (APS/ANL)
S. Siy, N. Behdad, J. Booske (University of Wisconsin)
M. Fedurin, K. Kusche (ATF/BNL)
G. Mouravieff, S. Oliphant (Servometer)

## Slide 2: A big picture …
A concept of a high repetition rate multi-user FEL facility based on a collinear wakefield accelerator CWA

## Slide 3: Collinear Wakefield accelerator module
Transition Section
Corrugated Tube
e-
30-cm long prototype chamber, ID = 2 mm (in fabrication)
0.5 m

## Slide 4: Physics design of the Transition Section
Design Highlights
Excellent separation of TM01 and TE11 modes.
Wide bandwidth to accommodate fabrication errors.
99.98% TM01 power extraction in coupler.
84% TE11 power extraction in IOM.
180GHz TM01 electric field
190GHz TE11-Y electric field
Coupler
IOM
reflection
coupling
Notch
Notch
Plots show vacuum that TS holds

## Slide 5: Transition Section Mechanical Design
Support
Brazed joint
This area contains
all design features
20.86mm
Diamond windows

## Slide 6: Transition Section Mechanical Design
0.5 mm
4.0 mm
10 mm
1.0~1.025 mm
Fundamental mode coupler
Integrated offset monitor
Notch filters
holder
main part

## Slide 7: ATF Experiment Goals
First goal
  Measure frequency of output THz signal from transition section ports (fundamental mode coupler and IOM)
  Measure energy modulation in the bunch due to the wakefield
  Estimate power of THz signal
Second goal
  Verify that transition section removes all fundamental power
  Measure any HOM power that is not removed by transition section
e-
1
3
4
5
8
9
7
2
10
11
6
1) Corrugated waveguide
2) Translation stage
3) Transition section
4) Collimator
5) Spectrometer magnet (horizontal)
6) Diagnostic screen
7) TPX window
8) Michelson interferometer
9) Bolometer
10) Dog-leg lattice
11) Energy collimator

## Slide 8
Mechanical Design of the mandrel

## Slide 9
Transition Section fabrication
Aluminum mandrel
A fragment of aluminum mandrel
Plated mandrel after machining

## Slide 10
Transition Section fabrication
Received three trial products
Expect fabrication to be completed by May 2022

## Slide 11: ATF Experimental Setup (under consideration)
.
Experimental Chamber
e-
96 mm
598 mm
300 mm
1
1) Beampipe: vac chamber - transition
2) Beampipe: transition – transition
3) Beampipe: transition – angle cut
4) Transition waveguide with shutters
2
3
4
4
261 mm
442 mm
Space needed to collect radiation from angle-cut beampipe

## Slide 12: ATF Experimental Setup (under consideration)
Experimental setup for 2 transition sections
e-
300 mm
1
2
e-
300 mm
1
2
Experimental setup with angle-cut beampipe
1)
2)
Purpose:
Standard measurements
Verify fundamental power removed by transition section
Purpose:
Measure HOM power

## Slide 13: ATF Experimental Setup (under consideration)
e-
Experimental setup with angle-cut beampipe
3)

## Slide 14
Electron Beam Requirements
5

## Slide 15: Special Equipment Requirements and Hazards
Electron Beam
    shaped bunch using mask technique (likely),
    LiHe bolometer/interferometer setup,
    TPX windows
    vertical translation stage (levered at the beam height)
    the horizontal slit,
    diagnostic screen,
    alignment laser(s)
    single shot THz spectrometer – a new instrument
Hazards & Special Installation Requirements
  No known hazards

## Slide 16: Experimental Time Request
Capability | Setup Hours | Running Hours
Electron Beam Only | 32 hours*) | 48 hours*)
Laser* Only (in FEL Room) |  | 
Laser* + Electron Beam |  | 
CY2022 Time Request
Capability | Setup Hours | Running Hours
Electron Beam Only | 32 hours | 48 hours
Laser* Only (in FEL Room) |  | 
Laser* + Electron Beam |  | 
Time Estimate for one year experiment (including CY2022)
*) we may need a second run using two shifts for a setup and three shifts for the experiment
The goal is to complete the experiment in FY’2022. Completion of student’s PhD thesis depends on obtaining the data.