## Slide 1
From Conveners 02/16/2022 .
Request from ATHENA EB to present on Friday update on WG:
Status
Near Future Plans
To-Do Items
Include issues (manpower etc.)
Resources needed (simulations/CPU)
By end of the day tomorrow let’s collect slides (one slide per sub-detector)
nEcal – Valdimir
bEcal – Maria, Chao, Paul
pEcal/Hcal – Oleg
b/nHcal – Oleg
I’ll put them together for Fri. Conveners meeting.

## Slide 2
Follow up last week discussion on min. energy requirement:
We asked SIDIS and Exclusive WG conveners if there are ‘justifications’ supporting the 50 MeV threshold across all emcals?
Spencer brought some good general physics arguments, which we asked him to discuss in our meeting
Detailed simulations TBD. What will be simulated, what is needed (detector model etc), manpower – this type of question EB wants to hear on Fri., I guess.
Have not heard back from SIDIS yet.
We’ll continue after Sasha’s talk.

## Slide 3
ATHENA Calorimetry R&D (EIC project R&D)
eRD105 – Vladimir gave update on 02.02.22
eRD106 – pECal on hold
eRD107 – pHCal on hold
eRD110 – SiPMs on hold
https://wiki.bnl.gov/conferences/index.php/ProjectRandDFY22
It was an open meeting on 04.02.22 https://indico.bnl.gov/event/14715/ to find common ground between PID/Calorimetry (and between different EIC collaborations ATHENA,ECCE, Core have been shown). For calorimeters this is eRD110
Similarly, for eRD106, eRD107 idea is to call for open meeting in two weeks, and as it was in case of meeting for SiPMs have project to moderate it.

## Slide 4
Sub-system | Readout Unit | Minimal Energy YR Table 10.6 | Minimal Practical | Maximum Energy YR Inclusive | Signal Range
n-EMCal PWO | Tower | 50 MeV | 2.5 MeV | 20 GeV | 5-100k pixels
n-EMCal SC Glass | Tower | 50 MeV | 2.5 MeV | 20 GeV | 5-100k pixels
n-Hcal (KLM type) (10 layers) | Scint. Tile (individual tile) | 500 MeV | 0.1 MeV | 20 GeV | 10-200 pixels
p-EMCal | Tower (sum all fibers) | 100 MeV | 5 MeV | 100 GeV | 5-60k pixels
p-Hcal | Tower (sum 51 tiles) | 500 MeV | 300 MeV | 100 GeV | 50-20k pixels
b-Hcal (KLM Type) (5 layers) | Scint. Tile (individual tile) | 500 MeV | 0.1 MeV | 10 GeV | 10-200 pixels
b-Ecal (ScFI part) | Sub-Layer (one light guide) | 50 MeV | 2.5 MeV | 50 GeV | 90-40k pixels
b-Ecal (Si layers) | Pixel | 50 MeV | 2.5 MeV |  | 
Table 10.6 YR – requirements table. pEMcal – min. energy 100 MeV. EM cluster – side tower 5 MeV
For many reasons we want to keep SF in pECal (WScFi) at ~ 2.8% and not at 12%
Light Yield at 1000 p.e./GeV is possible with SiPMs (that will be close to previous example), BUT we need to move from 3x3 SiPMs to 6x6 SiPMs -> Noise may reach 2 x 10 MeV = 20 MeV Unless one start to cool SiPMs S/N what is listed in 10.6 not reachable.
And during discussions at ATHENA calor meetings it was not clear at all what is justification for 100 MeV minimal energy in pECal?
eRD106 is for pECal (tied with eRD107 pHCal).
Some requirements in YR looks tough,
eRD 105
eRD 106
Is it justified?

## Slide 5
Min Energy 50 MeV from -4 to +4,
Looks to me as made up….
For any sampling calorimeter at hadron endcap this is a tough requirements.
We need to clarify this:
What is justification?
What is requirement?
This goes beyond Calor group.
As an acation item from today’s meeting: put it on agenda for next calor meeting?
Need volunteer(s) to prepare it.

## Slide 6
Case of pre-shower in front of pECal for ATHENA discussed in one of the earlier calo. meetings. But did not get to proposal or upgrade considerations.
It was generic R&D project for preshower (Chili group) using LYSO/WLS fibers ( not tied to any particular detector region. Did not last long.
In view of very low threshold, purpose of pre-shower may be reconsidered to meet this requirement.
We have 10 cm space between RICH and pEcal, where such device may fit.
Other option is to combine it with pECal.
Q1.
To get detailed simulations (if preshower is under consideration) it has to be added in dd4hep (assuming it is right region to put it ( 1<eta<4)