## Slide 1
Lambda reconstruction for EIC detector
Enea Prifti (UIC)
with Dr. Olga Evdokimov
and Dr. Anselm Vossen

## Slide 2: Data Samples
Lambda reconstruction efficiency study:
ep Pythia simulation 18x275
Event filter applied to keep only events with lambda
Full detector simulation
Only primary vertex included/ no explicit secondary vertex reconstruction
Two efficiency evaluation methods used:
  Factorize secondary track reconstruction efficiency
  Lamba decay reconstruction (invariant mass)

## Slide 3: Track Matching
Protons phi: 0.997743
Pions phi: 0.961413
Protons theta: 0.96452
Pions theta: 0.964603
Reco Signal – tracks with closest gen track difference of |∆θ| < 0.01 and |∆Φ| < 0.1

## Slide 4: Secondary track reconstruction efficiency
Efficiency of Lambda daughters’ vs all pions (and protons) efficiencies

## Slide 5: Invariant mass reconstruction
Raw Signal – pairs of protons and pions with opposite charge
Background – pairs with protons and pions of the same charge
The background is scaled using the ratio in a region away from the lambda mass peak

## Slide 6: Lambda reconstruction efficiency
Reconstruction for different kinematic bins
The background is scaled using the same factor used in the mass plots
Difference of two distributions yields reconstructed lambda spectrum

## Slide 7: Extracted Efficiencies
Efficiency – Ratio of reconstructed Lambda p spectra over generated Lambda p spectra

## Slide 8: Extracted Efficiencies
Efficiency – Ratio of reconstructed Lambda p spectra over generated Lambda p spectra

## Slide 9: Extracted Efficiencies
Efficiency – Ratio of reconstructed Lambda p spectra over generated Lambda p spectra

## Slide 10: Full Reco vs Matching
Similar reco tracks efficiency and gen matched tracks efficiency results
Better agreement is expected with improvements in invariant mass method

## Slide 11: Questions?