## Slide 1: SPHENIX CRYOGENICS 6.27.2022
Roberto Than
Collider Accelerator Department
Brookhaven National Laboratory

## Slide 2: History
BABAR Cryogenics
Testing in building 912 with piston expander helium plant
  Low power test
  High power test with extension modification of the interconnect from solenoid to valvebox
SPHENIX CRYOGENICS

## Slide 5: SLAC: BABAR Operations
Plant produces liquid in storage dewar
Storage dewar operated at 12 psig
Storage dewar used as buffer in the event of plant trip
Feed is co-axial (60 m) Liquid/ Vapor
THERMO-SIPHON
  Not stable
  PHASE SEPARTOR too small
Operated without siphon.

## Slide 6
SC Splice joint vertical
Helium Vertical loop up/down

## Slide 7
SC Bus/Cryolines extension
Solenoid Valve box &
5 kA Current leads

## Slide 8: HIGH POWER TEST in Bldg 912
Extension tested in high power test in bldg. 912 using 4 cylinder piston expander plant
Duration was short, few hours at full current

## Slide 9: SPHENIX REQUIREMENTS
Keep the existing solenoid valve/leadpot cryostat
Keep solenoid cold during summer shutdown below 100K
  LN2 supply and exchanger
Controlled cooldown with maximum 40K gradient
  No warm gas source at IR08
  local heater

## Slide 10: SPHENIX CRYOGENICS
SHIELD SUPPLIED WITH 4.5K VAPOR

## Slide 11: sPHENIX CRYO CONTROLS SYSTEM SCREEN

## Slide 14: EIC DETECOR CRYOGENICS

## Slide 17
CRYOGENIC DISTRIBUTION
Service Bld
1006
Service Bld
1010
Service blds
1005H,1005R
Service Bld
1008
Service Bld
1002
Service Bld
1012
ValveBox
ValveBox
ValveBox
ValveBox
ValveBox
ValveBox
ValveBox
ValveBox
ValveBox
IR12
IR2
IR6
IR4
IR10
IR8
CENTRAL PLANT
Service Bld
1004
6 Blue & 6 Yellow Valveboxes
located in service buildings
Cryogenic valves & Recooler,
SC busses current leads interface {“Leadpot”}
C
e
n
t
r
a
l
P
l
a
n
t
R
HS
HR
S
CR
WR
WS
S : Supply, 4.5K Liquid
R : Return, 4.5K vapor Return
H : Heatshield Collider loop
U : Utility, 9.6K Gas Return
M : Magnet, 4.5K Loop
1006
ValveBox
S : Supply, 4.5K Liquid
R : Return, 4.5K vapor Return
H : Heatshield Collider loop
U : Utility, 9.6K Gas Return
WR: Warm Return loop
M : Magnet, 4.5K Loop
1006
ValveBox
S : Supply, 4.5K Liquid
R : Return, 4.5K vapor Return
H : Heatshield Collider loop
U : Utility, 9.6K Gas Return
WR: Warm Return loop
M : Magnet, 4.5K Loop
S : Supply, 4.5K Liquid
R : Return, 4.5K vapor Return
H : Heatshield Collider loop
U : Utility, 9.6K Gas Return
M : Magnet, 4.5K Loop
Sector 5
Sector 4
Sector 3
Sector 2
Sector 1
Sector 12
Sector 11
Sector 10
Sector 9
Sector 8
Sector 7
Sector 6
ValveBox
ValveBox
ValveBox