## Slide 1: My Laboratory Report and Future Plans
JiaJun Huang

## Slide 2: Lab Purpose
Calorimeters
Scintillators
Sipm
Notes: Scintillator bar with scintillating fiber or clear hexagon scintillating bar, Sipm properties and functions

## Slide 3: Early Stage
Learning
Laboratory Setup
SketchUp
Notes: Describe SketchUp, Welding, Setup of Dark Box, Setting up Sipm, Two fold coincidence,

## Slide 4: Sipm Characteristics
Various Models
Break down voltages
Waveform analysis
Notes: Different Sipm setups, testing out different models

## Slide 5: Break Down Voltage Measurement
Voltage Generator and Readout Software
Python
  Data fitting
Notes: Keithley Equipment, Kick Start 2 software, IV Curve, Precise measurements for cosmic rays, variation in Sipm

## Slide 6: Waveform Analysis
Individual Pulse
Peak to Peak
Gaussian
Notes: Three separate sections of line fits, constant, linear, exponential, intersections, histogram fit of gaussian, chi2 analysis, filtering bad pulse

## Slide 7: Improvements
Concise Code
  Step functions
  ‘iminuit’
  Chi2 analysis
Notes: One single function and code, more efficient code, chi2 of other parts

## Slide 8: Plans
Data Analysis
  Chi2 of other parts
Learning ROOT
Learning Simulation of EIC Events
Notes: ROOT using ATLAS open data notebooks, using ROOT fitting of Landau

## Slide 9: Acknowledgement
Dr. Arratia
Alec
Sean
Sebouh
LLNL