## Slide 1
HERMES
Particle Identification

## Slide 2: HERA @ DESY
HERA: e+/e- (27GeV) - proton (920 GeV) collider
HERMES @ HERA

## Slide 3: The HERMES Spectrometer
Internal Gas Target: He , H , D , H unpol: H2,D2,He,N2,Ne,Kr,Xe
Particle ID:
ECal: E for leptons and g
Preshower, TRD
1997: Cherenkov,
 2007: RICH + Muon-ID

## Slide 4: Which Particle is Which
Physics requirement: Need lepton hadron separation over wide momentum range
In worst case factor 105 hadron
suppression is needed
EM-Calorimeter
Preshower
Hadrons
Leptons
combined suppression 103
Factor 100 still needed

## Slide 5: What is the best Detector concept
Energy loss dE/dx
Cerenkov Radiation
Too small p lever arm
Impossible to cover full p-range of leptons
Transition Radiation:
sensitive to particle g (g>1000)
Aerogel; n=1.03
C4F10; n=1.0014
e

## Slide 6: The HERMES TRD
Single Module Response
combining all 6 modules

## Slide 7: Which Hadron (p,K,p) is Which
hadron/positron separation
combining signals from: TRD, calorimeter, preshower
 to cut on single responses very inefficient or high contamination
 different method

## Slide 8: Which Hadron (p,K,p) is Which
Aerogel; n=1.03
C4F10; n=1.0014
hadron separation
Dual radiator RICH for p, K, p
What about lepton identification?
p
K
PID-response separating hadrons and leptons combining ECal + Preshower + TRD

## Slide 9: Lepton ID using the RICH
Variable used to form a PID probability #PMTs fired as fct. of momentum
RICH response for lepton hypothesis
for leptons selected by other PID detectors
Norm. #PMTs
RICH response for lepton hypothesis
for hadrons selected by other PID det.

## Slide 10: Lepton ID using the RICH
Gas
Aerogel
Gas radiator more powerful
over a wider p-range

## Slide 11: Summary
ECal+PreShower+TRD
p<4GeV
Simple response on threshold
behavior of radiator
significantly improved lepton hadron separation
 one can do similar things for EIC

## Slide 13: The HERMES RICH Detector
2000 0.75’’ PMTs
Aerogel-Wall
6km cables on
60cm x 120cm

## Slide 14: The end of polarized targets at HERMES
DVCS exclusivity by missing mass Mx
Improve Exclusivity
Detect recoiling proton
modify target region
Detector to measure recoiling proton

## Slide 15: The HERMES Recoil Detector
Build by DESY, Erlangen, Ferrara, Frascati,
Gent, Giessen and Glasgow
detection of the recoiling proton
  p; 135 -1200 MeV/c
  76% f acceptance
  p/p PID via dE/dx
improved t-resolution
  study kinematical
  dependences
background suppression
  semi-incl.: 5% a <<1%
  associated: 11% a ~1%
Silicon
SciFi

## Slide 16: The sub-detectors of the recoil
Photondetector
SCIFI-Detector
Silicon Detector

## Slide 17: The HERMES Silicon detectors
first Si-detectors in high energy
experiments, which sit directly in
beam vacuum
normally roman pot technology
special attention to background rates
during injection and the fill
BeamLossMonitor connected
to fast e-dump

## Slide 18: Unfortunate Accident
March:
  Target Cell got damaged properly by accidental beam loss
  caused big problems due to RF for the silicon
May:
  Silicon got severe radiation damage due to second incident with
  the target cell
Silicon-Detector:
  removed for repair
  re-installation end of June in shutdown for HERA e-/e+ switch