## Slide 1: Barrel ladder test using the FELIX system
G. Nukazuka(RBRC),
R. Nouicer, R. Pisani, R. Cecato(BNL)

## Slide 2: Barrel ladder tests with Felix system
The barrel ladder tests were successfully done with the FEM/FEM-IB system.
Tests using the Felix should be performed as well.
Now the Felix system can handle everything by itself:
  Slow control
  BCO and start clock signals
  high-speed data readout
2 ladders were tested:
  B1L104 south side
  B1L105 south side: not done yet….
West
x
(horizontal)
y (vertical)
z
East
B1L104
B1L105

## Slide 3: Results: B1L104S, FEM/FEM-IB
Data: fphx_raw_20220914-1830_0.dat
ROC: port C3
Bias: A = 320 nA, B = 385 nA
Calibration results of B1L104S with the FEM/FEM-IB system
chip18 ch77 : noisy
chip18 ch105: dead

## Slide 4: Results: B1L104S, FELIX
Data: calib_packv1_220927_1700.dat
ROC: port C3
Bias: A = ? nA, B = ? nA
Calibration results of B1L104S with the FELIX system
chip18 ch77 : dead
chip18 ch105: dead
?

## Slide 5: Results: Comparison
Channel dist.
ADC dist.
Amplitude dist.

## Slide 6: Results: Comparison, focusing on Chip1
Channel dist.
ADC dist.
Amplitude dist.
FEM
Felix
Amplitude vs ADC
FEM
Felix
Channel vs Amplitude
ADC0
ADC1
ADC3
ADC4
ADC5
ADC6
ADC7
ADC2
Amplitude distributions with ADC selection
FEM
FELIX
The results from the FELIX system are consistent with FEM’s.

## Slide 7: Preparation of the 2nd Felix server
Output from the FELIX
Python dictionary
ROOT file
TTree
File conversion script by Python
READY
ROOT macro for plots
READY
- FELIX DAQ: READY
- GUI: NOT READY
Slow Control, BCO, Start
and DATA fibers
2nd Felix Server
Basic configuration was done
2nd Felix server is almost ready. GUI is needed.