## Slide 1: High-precision timing R&D at CERN
Eduardo Mendes – CERN EP-ESE – 10/11/2022
eduardo.brandao.de.souza.mendes@cern.ch
EPIC DAQ working group meeting 2022

## Slide 2: …
…
Simulated HL-LHC collision event in the ATLAS detector

## Slide 3
CMS and ATLAS
  Building timing detectors for phase-2 upgrades
Stringent constraints regarding clock quality
Josh Bendavid (CERN/LPC), Oct 2017
CMS detector performance for HL-LHC
Timing helps removing pile-up
Experiment Axis

## Slide 4
Overview of an experiment
FPGA
ASIC
…
ASIC
ASIC
ASIC
Point-to-point links
FPGA
FPGA
FPGA
FPGA
FPGA
Being evaluated for Phase-2 upgrades

## Slide 5
Measure the phase difference between a REF clock and the CUT
Reference
Clock
Under Test
Basic principle of clock characterization

## Slide 6
Time-based measurement
  Based on oscilloscope
  Nowadays we obtain O(5ps)
  Taken into account for physics simulation
Time (ps)
Events
Mean - μ
Standard Deviation - σ
histogram
Time Interval Error Jitter
~10ms

## Slide 7
Measuring clock quality
Clock
Quality
Fast
Variations
(<1s)
TIE Jitter
Phase
Noise
time
freq.

## Slide 8
Measuring clock quality
Clock
Quality
Fast
Variations
(<1s)
TIE Jitter
Phase
Noise
Slow Variations
(>1s)
Phase
Determinism
time
freq.
restart

## Slide 9
How much phase average change after restarts (e.g. power cycles)?
Phase-determinism (reproducibility)
Reference
Clock
Under Test
Average

## Slide 10
Time (ps)
Events
Mean - μ
Standard Deviation - σ
Time (ps)
Events
Mean - μ
Standard Deviation - σ
histogram
of means
Repeat measurement several times
restarting system
TIE plot
Phase-Determinism (reproducibility)
Time-based measurement
Peak to peak – p-p
Phase determinism

## Slide 11
Calibration-related phase-variations
sub-Unit Interval Level
  Example for Ultrascale Transmitter
FPGA
Clock
gen
Scope
Tx
Probability density function

## Slide 12
Calibration-related phase-variations
sub-Unit Interval Level
  Example for Ultrascale Receiver
DFE: Discrete Feedback Equalizer
LPM: Low-Power Mode equalizer
Probability density function

## Slide 13
Calibration-related phase-variations
sub-Unit Interval Level
  First published by our team in 2020 IEEE TNS (link here)
  Close collaboration with Xilinx
  Results have been applied in several institutes and companies worldwide
    Thanks to CERN Open Hardware License
    IEEE TNS most popular paper of 04/20

## Slide 14
Measuring clock quality
Clock
Quality
Fast
Variations
(<1s)
TIE Jitter
Phase
Noise
Slow Variations
(>1s)
Phase
Time Trend
Phase
Determinism
time
freq.
trend
restart

## Slide 15
Phase Time-Trend
Time (ps)
Events
Mean - μ
Standard Deviation - σ
Time (min)
TIE plot
time trend
of means
Repeat measurement several times
Time (ps)
Time-based measurement

## Slide 16
Downlink
recovered clock
Bidirectional self-synchronous link
reference
clock
PLL

## Slide 17
Downlink
recovered clock
Temperature variations in fiber change phase of recovered clock
Bidirectional self-synchronous link
Temperature
Temperature
Tx
Rx
Tx
Rx
reference
clock
PLL

## Slide 18
Tx
Rx
Tx
Rx
reference
clock
Downlink
recovered clock
Uplink
recovered
clock
PLL
Temperature variations in fiber change phase of recovered clock
Bidirectional self-synchronous link
Temperature
Temperature
Temperature

## Slide 19
Tx
Rx
Tx
Rx
reference
clock
Downlink
recovered clock
phase
detector
Phase
Shifter
Loop
Filter
TCLink implementation: inspired on the PLL concept
Uplink
recovered
clock
Timing Compensated Link
PLL

## Slide 20
Tx
Rx
Tx
Rx
reference
clock
Downlink
recovered clock
phase
detector
Phase
Shifter
Loop
Filter
TCLink implementation: fully integrated in FPGA
Uplink
recovered
clock
Timing Compensated Link
UltrascaleFPGA
PLL

## Slide 21
Let’s see its performance…
Timing Compensated Link

## Slide 22
A more realistic example
Timing Compensated Link

## Slide 23
A more realistic example
Timing Compensated Link

## Slide 24: Looking forward in the future

## Slide 25
Applicability to Versal family
Research developed is very dependent on specific feature of GTY/GTH transceivers of the Ultrascale(+) family: the Tx phase interpolator (PI)
Versal GTY/GTYP also have the Tx PI
  However, tests have to be performed to check performances are the same
GTM transceiver does not have the Tx PI accessible

## Slide 26
CERN R&D in precision timing distribution
CERN HPTD interest group founded in 2018
  +100 members – 12 meetings
Interdisciplinary collaboration: ASIC, FPGA, board design, physics, etc…

## Slide 27
Looking further in the future…
ECFA 2021 detector R&D Roadmap (link here)
  High-precision timing will remain a hot topic in the next decades for HEP

## Slide 28
Looking further in the future…
Current performances depend on specific hardware
  Not guaranteed in the future…
  Precision of timing distribution will not improve as a mere consequence of moving to higher technology nodes…
Very important for CERN to keep active in high-precision timing and maintain this knowledge in the long-term

## Slide 29: Thanks
Subscribe to the High Precision Timing Distribution group for more information (search and subscribe)

## Slide 30
References & Useful links
TCLink
  Paper: https://pos.sissa.it/370/057/pdf
  Gitlab: https://gitlab.cern.ch/HPTD/tclink
Papers on phase-determinism
  UI-level phase fixed: https://ieeexplore.ieee.org/document/5703158
  Sub-UI level phase fixed: https://ieeexplore.ieee.org/stamp/stamp.jsp?tp=&arnumber=896
HPTD Interest Group
  Workspace: https://espace.cern.ch/HighPrecisionTiming
ECFA 2021 detector R&D roadmap
  Document: https://cds.cern.ch/record/2784893