## Slide 1: Summary ePIC collaboration meeting
Alexandre Camsonne
January 19th 2023

## Slide 2: JANA2 – Natan Brei

## Slide 3
Common Algorithms:
digitization
clusterizer
tracking
PID
…
Detector Specific:
EcalEndcapN
HcalEndcapN
HPDIRC
etc
Geometry
DD4hep
Services:
geometry
configuration
calibration
I/O
logging
Resources:
Field Maps
Material Maps
AI/ML Models
…
Utilities:
Background event merger
cull_events
geometry query
…
Plugins:
Stream Monitoring
Benchmarking
DST writer
…
Conditions DB
ACTS
Configuration:
User supplied (custom)
Simulation
Real data
Bench tests
…
PODIO
Calibrations DB
external packages
cloud services
Data Model
JANA2

## Slide 4: SRO: Event selection and filtering
Read stream of time slices
Reconstruct
PID, filter
Select events
“event t1eN”
“event t2e2”
Det A
Det B
Recon. Tracks
“time slice 1”
“time slice 2”
“event t2e1”
Write DST/histos
of events
Timeslices
Timeslices
(+ tracks, clusters)
Event
candidates
Events
(+jets, kin fits)
https://arxiv.org/abs/2202.03085 Streaming readout for next generation electron scattering experiments
https://doi.org/10.1051/epjconf/202125104011 Streaming Readout of the CLAS12 Forward Tagger Using TriDAS and JANA2
https://doi.org/10.1051/epjconf/202024501022 JANA2 Framework for Event Based and Triggerless Data Processing
https://doi.org/10.2172/1735849 Evaluation & Development of Algorithms & Techniques for Streaming Detector Readout

## Slide 5: Background – Reynier Cruz Torres

## Slide 9: RICH photosensors : Pietro

## Slide 14: EICROC : Dominique Marchand

## Slide 18: Readout Channels & eRD109 proposals
Detector Group | Channels | AC-LGAD | SiPM/PMT | MPGD
 | MAPS | AC/DC-LGAD | SiPM/PMT | MPGD
Tracking | 32 B |  |  | 100k
Calorimeters | 50M |  | 67k | 
Far Forward | 300M | 2.3M | 500 | 
Far Backward |  | 1.8M | 700 | 
PID |  | 3M-50M | 600k | 
TOTAL | 32 B | 7.1M-54M | 670k | 100k
ASIC | ITS-3 | EICROC FCFD HPsOC ASROC FAST | Discrete/COTS HGCROC3 ALCOR-EIC | SALSA
Readout implementations with discrete/COTS and ASICs (HGCROCv3) are leading candidates for the EIC. The large number of channels, density, granularity and geometry favor high circuit density solutions.
We continue to assess ASIC developments from other sources such as NALU, Pacific Microchip, Alphacore, EPIR, SenseICs, Weeroc.
Some sub-detectors, with less restrictive requirements, may benefit from discrete implementations and developments such as from STAR and sPHENIX.

## Slide 19: Proposals
Five (5) proposals were received and originated from various EIC sub-detector groups. These cover the R&D efforts for ASICs and Electronics in support of the EIC detector readout:
Proposal | File | Authors | Sub-Detector | Sensor Type | Readout Solution
A | eRD109_pECAL_readout_prototype_FINAL | G. Visser (IU), et al. | Calorimeter | SiPM | Discrete, COTS, ASIC
B | eRD109CalorimeterReadout | N. Novitzky (ORNL), et al. | Calorimeter | SiPM | ASIC (HGCROCv3)
C | eRD109-alcor | M. Ruspa (INFN), et al. | dRICH | SiPM | ASIC (ALCOR)
D | ACLGAD_ASIC_Electronics_FY23 | Z. Ye (UIC), et al. | Central, Far-Forward | AC-LGAD | ASIC (EICROC1, FCFD1, 3rd Party)
E | eRD109_SALSA_proposal_vfinal1 | D. Neyret (CEA), et al. | Micromegas, GEM, MicroRWell | MPGD | ASIC (SALSA)
For further details, refer to the documentation submitted for each of the proposals.