## Slide 1: R-Matrix analysis of 149Sm + n in the resolved resonance region
Experiendo cognoscitur
Th. Stamatopoulos1, P. Koehler1, A. Couture1, G. Rusev2, B. DiGiovine3
Physics Division, Los Alamos National Laboratory, 87545, NM, USA
Chemistry Division, Los Alamos National Laboratory, 87545, NM, USA
Weapons Stockpile Modernization Division, Los Alamos National Laboratory, 87545, NM, USA
LA-UR-23-32965

## Slide 2
Introduction: Motivation
According to a report by L. Leal (ORNL/TM-2005/065) 149Sm capture rate underestimates measured capture rates for PWR experiments by 4.8%
Only a few data sets in EXFOR
Resonance parameters do exist but better uncertainties and covariances are needed

## Slide 3
Introduction: Summary
We performed capture and transmission measurements with:
  the DANCE (Detector for Advanced Neutron Capture Experiments) instrument
  Capture data from 8 eV – 1 keV
  and DICER (Device for Indirect Capture Experiments on Radionuclides) instruments
  Transmission data from 1meV – 1 keV
Additional measurements of 147Sm
  Contaminant in the samples
  3.4 eV strong resonance
Data analysis is complete
R-Matrix analysis is complete

## Slide 4
The Los Alamos Neutron Science Center - LANSCE
500-800 MeV protons
meV – keV neutrons
keV – MeV neutrons

## Slide 5
The Los Alamos Neutron Science Center – LANSCE
Lujan Center – Low energy neutrons
Lujan Center
DANCE (n,γ)(?)
DICER (n,tot), “(n,γ)”

## Slide 6
800 MeV protons impinge on a W target at a 20 Hz duty cycle.
Current is nominally 100 μA
Water moderator
Flux spans from 5 meV – 100 keV
New neutron target at Lujan (Mark-IV)

## Slide 7
Neutron spectrum @ Lujan
Mark-IV provides an enhanced keV spectrum compared to Mark-III
Mark-IV is expected to improve the neutron energy resolution
The 149Sm experiments were performed using the Mark-III spectrum
Preliminary

## Slide 8
Experiments @ DICER
~5mg 149,147Sm thin sample
~12mg 149,147Sm thick sample
1 mm diameter
Powder stuffed in capillary tubes
Capillary tubes inserted in Al canisters

## Slide 9
Experiment @ DANCE
DANCE to get the capture yield
DANCE also provides multiplicities
Different multiplicity distributions for different spins
DANCE is used as a spinometer

## Slide 10
R-Matrix analysis : Resonance parameters
Fits in capture and transmission data using SAMMY
Resolved doublet @ 15 eV
Too large evaluated Γn

## Slide 11
R-Matrix analysis : Resonance parameters
163 resonances were resolved, up to ~521 eV
Uncertainties on Γγ : less than 13%, average uncertainty: ~3.5%
Uncertainties on Γn : less than 18%, average uncertainty: ~3.8%

## Slide 12
Corrections
The experiments definitely missed some resonances
Correction methods assuming that the resonance properties exhibit known distributions (i.e. Porter-Thomas for “neutron widths” )
That was the case in 149Sm (Kolmogorov-Smirnov test)
Correction using Fuketa-Harvey method: Provides corrected number of resonances, strength functions and level spacings.

## Slide 13
Level spacings, strength functions, comparison with evaluations
Our data indicate that:
38 spins are incorrectly assigned in the ENDF-VIII.0 and JEFF-3.3 evaluations
41 spins are incorrectly assigned in the JENDL-5 evaluation
58 new resonances were resolved
  We resolved 215 resonances
  Evaluations include 157 resonances
Differences in resonance parameters up to 400%

## Slide 14
Thank you for
your attention!

## Slide 15
Nuclear properties : Level spacings and strength functions
Unfortunately there isn’t estimated uncertainty for the corrections
Want to find time to work the math out
We can do sensitivity studies, though