## Slide 1
Non-destructive Characterization of Nuclear Materials Through X-ray Absorption And Diffraction Contrast Tomography: Case Study on Surrogate TRISO particle
Mehmet Topsakal
Brookhaven National Laboratory
Nuclear Science and Technology Department

## Slide 2
What is this facility?
How can you use it?
What can you do with it?
Outline of this talk
XRD-CT endstation at NSLS-II

## Slide 3
Brookhaven National Laboratory (BNL) is a United States Department of Energy national laboratory located in Upton, New York, on Long Island, and was formally established in 1947.
BNL hosts National Synchrotron Light Source-II (NSLS-II)

## Slide 6
…plus many universities
all around the world

## Slide 7
Why do scientists go to light sources ?
???
XRD
XAS

## Slide 9
We are operating under the umbrella of NSUF @ INL

## Slide 10
Call is open now !

## Slide 11
https://www.bnl.gov/nsls2/userguide/

## Slide 12
C-hutch
XPD beamline (28-ID) at NSLS-II
D-hutch

## Slide 13
A typical X-ray diffraction setup with area detector
One-slide on X-ray diffraction method
x-ray beam
2D image
1D pattern
Azimuthal
integration
Phase information
Lattice parameters
Phase mass fraction
Micro strain
Crystalline size
Stacking faults

## Slide 14
Why do we need synchrotron resources ?

## Slide 15
Robot for high-throughput
sample changing
Corrosion cell
Cryostream (80K-500K)
Heating up to 2000oC
C-hutch

## Slide 16
We do support custom equipment
Please contact us (mtopsakal@bnl.gov) and Sanjit Ghose (sghose@bnl.gov) about your needs.

## Slide 17
D-hutch
Focused beam
(~25x25 µm)
25 microns x 25 microns
spot on TRISO fuel
Techniques enabled with small beam:
1D & 2D mapping (phase, lattice, strain…)
3D X-ray diffraction computed tomography
(XRD-CT)
X-ray fluoresce spectroscopy with high-energy beam.
Multi-modal 1D, 2D, and 3D non-destructive characterization of nuclear materials.
proudly
supported by

## Slide 18
An example from INL

## Slide 19
16 annealed U:10Zr
16 quenched U:10Zr
16 extruded U:10Zr
16 enriched U:10Zr
(Highly enriched 31%)
DU and HEU samples
sent to NSLS-II for characterization
Depleted (DU) and highly-enriched (HEU) samples were shipped to NSLS-II for characterization before irradiation at ATR

## Slide 20
Samples @ INL Sample prep procedure Samples at BNL
(ready for experiment)
shared with users

## Slide 21
We are experienced with radioactive materials at NSLS-II

## Slide 23
Another example from ORNL

## Slide 24
…..Credit: Nedim Cinbiz - TMS 2023

## Slide 25
Another example from ORNL

## Slide 26
….manuscript under review

## Slide 27
TRISO example
Real triso particle
(visualized destructively)
Surrogate particle
measured at the
endstation

## Slide 28
TRISO example
Under visible light
Under X-ray light
needle tip
OPyC layer
SiC layer
IPyC layer
Buffer layer
Kernel (HfO2)
Possible defect
Limitation: Absorption count is the only information we can get

## Slide 29
TRISO example
X-ray diffraction Computed tomography (XRD-CT) scan along equatorial plane
x
y
z
Advantage of XRD-CT: We can get real structural information from internals of the sample in a non-destructive way (without slicing the sample).
XRD pattern from SiC layer
XRD pattern from buffer layer
XRD pattern from kernel

## Slide 30
Please feel free to contact us (mtopsakal@bnl.gov & gills@bnl.gov)
if you want to use facility resources through NSUF.
We will be happy to help you.

## Slide 31
Acknowledgements
Eric Dooryhee
Michael Drakopoulos
David Sprouster
Sanjit Ghose
Jiaming Bai
John Trunk

## Slide 32
Call is open now !

## Slide 33
https://www.bnl.gov/nsls2/userguide/

## Slide 34
Thanks