INTT Tracking Commissioning Status
Joseph Bertaux
jbertau@purdue.edu

---
Raw Data→ Fun4All Hitset Container (Joseph)
Under development but progress will be limited until the unpacker is developed
Dead/Noisy Channel Analysis (Joseph, Cheng-Wei)
We have a working classification scheme for calibration and pedestal testing, but we will implement a different process for data taking—currently implemented but needs to be tested on data
We will either use CDB with hashing scheme or ROOT trees for data storage; currently leaning toward CDB with hashing
Detector gain studies (Itaru)
Planned as part of beam commissioning. We will upgrade existing software from past beam test telescope analysis

---
Signal Timing vs BX and Trigger (Itaru)
Self triggering with GTM is already implemented in Felix
Signal timing will be tuned as one of the first steps once we have a beam
Hit finding efficiency studies
N/A for INTT with only 2 layers
Startup geometry from survey(Joseph)
Sensor survey data is ready but we need to include data from the barrel survey
Joseph will resume this once the Dead Channel analysis and database are implemented
Feedback of detector parameters to simulation (Itaru, Cheng-Wei)
Threshold, gain, charge sharing, etc..