## Slide 1: Update of INTT vs. other detectors (MBD,TPOT)
Maya SHIMOMURA

## Slide 2: Multiplicity correlation, INTT vs. MBD
Run 20175
550K events
INTT4 only
We could see the correlation!
This is the first time we can see the correlation between Felix and DCM.

## Slide 3: (INTT BCO_Full & 0xFFFF)- MBD (Fem)CLK
Almost one peak. CLK has more noise than FemCLK
LOG
LOG
CLK
CLK
FEMCLK
FEMCLK

## Slide 4: (INTT BCO_Full & 0xFFFF)- MBD FemCLK vs. event number
It goes non-correlation around 100 K.
When I remove one event in INTT around 100K, then

## Slide 5: (INTT BCO_Full & 0xFFFF)- MBD FemCLK vs. event number
Even when femclk is not correlated with BCO full, events are still correlated.

## Slide 6: INTT clusters/hits vs. TPOT clusters
Correlation!

## Slide 7: Current status of the working INTT
Run #20885 taken on 2023/7/8
Zero Field run for INTT 0 to 7 (all)
Intt0
Jaein worked for this

## Slide 8: Current status of the working INTT
Run #20885 taken on 2023/7/8
Zero Field run for INTT 0 to 7 (all)
Intt1
No signal : 1/364

## Slide 9: Current status of the working INTT
Run #20885 taken on 2023/7/8
Zero Field run for INTT 0 to 7 (all)
Intt2
No signal : 1/364

## Slide 10: Current status of the working INTT
Run #20885 taken on 2023/7/8
Zero Field run for INTT 0 to 7 (all)
Intt3
No signal : 10/364 due to the mask for no bias voltage chips

## Slide 11: Current status of the working INTT
Run #20885 taken on 2023/7/8
Zero Field run for INTT 0 to 7 (all)
Intt4

## Slide 12: Current status of the working INTT
Run #20885 taken on 2023/7/8
Zero Field run for INTT 0 to 7 (all)
Intt5
No signal : 16/364 due to the mask for no bias voltage chips

## Slide 13: Current status of the working INTT
Run #20885 taken on 2023/7/8
Zero Field run for INTT 0 to 7 (all)
Intt6
No signal : 2/364

## Slide 14: Current status of the working INTT
Run #20885 taken on 2023/7/8
Zero Field run for INTT 0 to 7 (all)
Intt7
Total 30/2912 =0.010

## Slide 15: Back up

## Slide 16: Event shifts
I check the events by eye, and found that 2 events are shifted. I should check if this offset is always 2 or not.

## Slide 17: CLK and FEMCLK
CLK is a counter from the XMIT,
FEMCLK is a counter from the ADC.
One XMIT reads the data from two ADC’s. We have two XMITs, one for north (packet 1002) and one for south (packet 1001).