## Slide 1: MPGD Engineering Design and Integration Update (BOT and ECT)
Seung Joon Lee (JLab)
Summer 2024 Joint EICUG/ePIC Collaboration Meeting
(Jul 22 – 27, 2024)

## Slide 2: MPGD Detectors
Electron EndCap
(Rwell)
Hadron EndCap
(Rwell)
CyMBaL
(MicroMegas)
Barrel Outer Tracker
(Rwell)
DIRC
CF Tube

## Slide 3: BOT structure
Honeycomb layer
Drift foil
Drift frame
GEM foil
Induction frame
uRWELL + PCB
Service area
FEB

## Slide 4: Detector Structure
Dimension: 180 cm x 38 cm x 2.5 cm
MPGD chamber
FEB
B2B connector
FEB support bracket
Service area
F

## Slide 5: Service Line (BOT)
Installation
Removal
& Service
dRICH have to be moved out 4 meters to remove BOT
Or Remove DIRC
Service line

## Slide 6: MPGD chamber - Gas line
Drift frame
Induction frame
Mainstream channel
Glue stopper

## Slide 7: MPGD chamber - Gas line
Gas - inlet
Gas - outlet
GEM foil
Cross flow for maximum diffusion
More Gas inlet/outlet can be added if required

## Slide 8: End Cap tracker (ECT)
Electron EndCap
(Rwell)
Hadron EndCap
(Rwell)
CyMBaL
(MicroMegas)
Barrel Outer Tracker
(Rwell)
DIRC
CF Tube

## Slide 9: Current Design of ECT (E-ECT)
Active Area Overlap (10 mm)
MPGD Detector
Support frame
6 cm for FEB (µTPC), 8 cm for (thin gap Hybrid)
Support Frame
4x Half disc
10 cm

## Slide 10: FEB and Service
15+ cm for HD-ECT
Service line
Front view without front disc
This part will be supported (not designed yet)
24~30 FEBs required for µTPC (0.5 mm pitch)
16 FEBs for thin gap hybrid (1 mm pitch)
How many FEBs can we put around the disc?
Double rim support structure

## Slide 11: Summary
BOT
- 1st engineering design of chamber is completed.
- Service plan of BOT requires discussion with DIRC/dRICH
ECT
- Double rim support structure was design to support ECT discs and FEBs also to be integrated into the IB rail.
- Spacing between two discs for E-ECT is a key for placing multiple FEBs

## Slide 12: Backup

## Slide 13: FEB comparison (BOT)
Initial design of FEB
Run service line close to the side rail
Bracket to support FEB
New design of FEB (same area)
Long and narrow, close to the side rail
Run the 1st service line close to the side rail
Run the 2nd service line on the bracket
Bracket to support FEB and Service line
Side Rail
Side Rail

## Slide 14: Service Line (BOT)
Service line was doubled on the east side detector
Not enough space for the 2nd service line on the side wall
Extra support structure is required to support weight of 2nd service line
Realistic service line requirement is needed.

## Slide 15: Half disc – full length
900 mm
460 mm
Direction | # of Channel
Vertical | 1800
Horizontal | 920
Total (Half circle) | 2720
Total (Full circle) | 5440
FEB (256ch) | 22
Max strip length = 900 mm
Strip pitch = 0.5 mm

## Slide 16: Half disc – half length (similar with quarter disc)
450 mm
460 mm
Direction | # of Channel
Vertical | 1800
Horizontal | 1840
Total (Half circle) | 3640
Total (Full circle) | 7280
FEB (256ch) | 30
Max strip length = 460 mm
Strip pitch = 0.5 mm

## Slide 17: Half disc – half length
640 mm
Direction | # of Channel
+45 degree | 1540
- 45 degree | 1540
Total (Half circle) | 3080
Total (Full circle) | 6160
FEB (256ch) | 24
Max strip length = 640 mm
Strip pitch = 0.5 mm
450 mm

## Slide 18: Half disc – no uTPC
450 mm
460 mm
Direction | # of Channel
Vertical | 900
Horizontal | 920
Total (Half circle) | 1820
Total (Full circle) | 3640
FEB (256ch) | 16
Max strip length = 460 mm
Strip pitch = 1 mm