## Slide 1: sPHENIX Status Update
RHIC Coordination Meeting, Feb. 6, 2024
Kin Yip

## Slide 2
After months of disassembly and assembly/installation/testings, we were finally able to run 72 GEM’s of TPC to the operating voltage on Jan. 31, 2024 for ~4 hours.
  After achieving stable cooling environment, we turn on and test FEE’s (front-end electronics) while we closely watch any temperature variation
   when ready, we’ll test with cosmic rays to find tracks, before we start installing line laser instrument.
sPHENIX Detector Status Update

## Slide 3
We’ve had 2 weeks of calorimeter readout & DAQ tests (utilizing the new ADC’s and partition modules)  Success running GL1/HCal/EMCal with zero suppression tuned for a specific occupancy, running at > 15 kHz with clock triggers.
We have completed grounding improvement task for all the ROC’s (ReadOut Cards) of INTT (Inner Tracker).
Drawing/Statement of Work for Absorber (for reducing MVTX background) is ready and we just submitted the requisition yesterday.
We’ll start our “watch shifts” (2-person) on Feb. 20, 2024. TPOT operating gas can start to flow.
sPHENIX Detector Status Update (cont.)