## Slide 1
EICGENR&D2023_16: Development of Double-Sided Thin-Gap GEM-μRWELL for Tracking at the EIC
FY22 Progress Report & FY23 Proposal
EIC GENERIC R&D REVIEW MEETING
Kondo Gnanvo on behalf of Thin Gap MPGD Consortium
October 31, 2023

## Slide 2
Outline

## Slide 3
FY23 Progress Report

## Slide 4
FY22 Progress Report – UVa

## Slide 5
FY22 Progress Report – JLab

## Slide 6
FY22 Progress Report - VU

## Slide 7
FY22 Progress Report – Yale U.

## Slide 8
FY23 Proposal

## Slide 9
FY23 Proposal:
Mechanically Stretched Double Thin-Gap GEM-µRWELL Hybrid
Double-sided detector of medium size (30 cm ✕ 30 cm active area) and low mass
Frame structure allows purely mechanical stretching of GEM foils and drift foils and assembly with minimal application of glue
        => Foil tension can be adjusted during assembly to ensure uniformity of small drift gap (0.5-1mm)
    => Detector can be re-opened to access or swap out components
    Use carbon fiber (CF) to provide a stiff outer frame
    Build on experience with mechanically stretched Triple-GEMs from previous eRD6 program and from CMS mass production
    Approach:
      Produce technical design and construct a mock-up of the mechanics
      Use Cu-clad Kapton foils as stand-ins for RWELL and GEM foils
      Investigate and mitigate possible charging up of conductive CF frame with foils under HV

## Slide 10
FY23 Proposal:
Mechanically Stretched Double Thin-Gap GEM-µRWELL Hybrid
Not to scale !
Drift cathode foil 1
Drift cathode foil 2
GEM 1
RWELL 1
GEM 2
RWELL 2
inner
frame
stack
embedded nut
stretching screw
low-mass honeycomb backing
pull-out post
outer frame with O-rings
carbon fiber frame
0.5 mm
0.5 mm
5 mm
15 mm
Capacitive sharing readout strips
O-ring
Gas
port
300 mm
30 mm
Conceptual design

## Slide 11
FY23 Proposal – UVa & Vanderbilt

## Slide 12
FY23 Proposal – Jefferson Lab

## Slide 13
FY23 Proposal: Budget Request

## Slide 14
Back up