## Slide 1
EICGENR&D2023_16: Development of Double-Sided Thin-Gap GEM-μRWELL for Tracking at the EIC
FY22 Progress Report & FY23 Proposal
EIC GENERIC R&D REVIEW MEETING
Kondo Gnanvo on behalf of Thin Gap MPGD Consortium
October 31, 2023

## Slide 2
Outline

## Slide 3
FY23 Progress Report

## Slide 4
FY22 Progress Report – UVa

## Slide 5
FY22 Progress Report – JLab

## Slide 6
FY22 Progress Report - VU
Type of Prototypes | Specifications | Data taken (Fermilab test beam)
GEM +MMG | Active area = 10 cm x10 cm Drift gap = 1 mm Transfer gap = 1 mmm 2D chevron R/O with 1.6 mm pitch | ArCO2 gas (HV scan + track angle scan) KrCO2 gas (HV scan + track angle scan)
GEM + 𝜇Rwell | Active area = 10 cm x10 cm Drift gap = 1 mm Transfer gap = 0.5 mm 2D chevron R/O with 1.6 mm pitch | ArCO2 gas (HV scan + track angle scan) KrCO2 gas (HV scan + track angle scan)
𝜇Rwell | Active area = 10 cm x10 cm Drift gap = 1 mm 2D chevron R/O with 1.6 mm pitch | No data taken
          Only single strips are getting fired most of the time
          Challenging to decipher hot channel with real hit
          Ongoing analysis

## Slide 7
FY22 Progress Report - VU

## Slide 8
FY22 Progress Report – Yale U.

## Slide 9
FY23 Proposal

## Slide 10
FY23 Proposal - Florida Tech

## Slide 11
FY23 Proposal – UVa & Vanderbilt

## Slide 12
FY23 Proposal – Jefferson Lab

## Slide 13
FY23 Proposal: Budget Request

## Slide 14
Back up