## Slide 1: Instrumentation
Michiko Minty

## Slide 2
Instrumentation Systems - C-AD conventional diagnostics
chambers
>750 ionization
>60 pin
diode
7 Faraday cups
680 BPMs
(>920 planes)
9 wall current
monitors
19 scintillators
transformers
23 current
18 wire arrays
7 ionization
pin hole detector
pepperpot
systems
6 stripping foil assemblies
video imaging
> 125 chipmunks
monitors
chipmunk calibration pit
diverse suite of diagnostics - each with distinct characteristics, qualities, and components
profile
monitors

## Slide 3
Instrumentation Systems - C-AD specialty diagnostics
AGS tune meter
LINAC laser
RHIC BBQ / BTF
RHIC spin flipper
RHIC travelling wave
and damper
profile monitor
RHIC HF Schottky
RHIC bunch-by-bunch
beam loss
position
coherence
luminosity
unique diagnostics

## Slide 4
RHIC Collimator
EBIS Harp & Collimator
EBIS RFQ tuner
>300 axis of motion including steppers, AC and DC motors, pneumatic, piezo, linear servo and solenoids
AGS jump target
Instrumentation Systems - C-AD Motion Control
RHIC roman pot
RHIC stochastic cooling longitudinal kicker
RHIC RF
Booster
stripping foil
operations-critical, diverse

## Slide 5
Instrumentation Systems: beam-based feedback
from W. Fischer “outlook on Run-14 and beyond”, RHIC Retreat closeout (07/31/13):

## Slide 6
Instrumentation Systems: measurement precision
orbits
tunes
coupling
400 m
resolution < 5 um (~ 15 um for turn-by-turn)
resolution ~ 1E-6
resolution ~ 1E-3
improved resolution allowed for beam-based feedback control of critical parameters

## Slide 7
Instrumentation Systems - beam-based feedback history
tune/coupling
orbit
10 Hz
xmean
proof of
principle
application
during all ramp
developments
application to
all ramps before
declaring physics
application
for all ramps
fully
operational
2006
2010
2011
> 2011
2010
2011
2010, prototype
2011, full systems
2012
2012
> 2011
2012
2011
2011
2012
2011
2011
2011
2011
> 2011
type of
feedback
2009
orbits ….. ~ 20 um .…. 50
energy ….. ~ 1E-6
tunes corrected and stable to ~ 1E-3 factor 100 improvement
coupling ….. ~ 1E-2 …. 10
Precision measurement and control of the beam’s parameters have resulted in improved
operational efficiency (~ 1 week/running period), in highly reproducible operating conditions
and in improved performance (i.e. higher polarization)

## Slide 8
Instrumentation Systems – stochastic cooling
operational responsibility transferred to our group in 2010
Blue Horizontal & Vertical Kicker Installation
Blue Longitudinal Kicker Installation
BTF switch
Fanout
Amp (x4)
I/Q (x16)
Filter (x8)
NA switch
Network
Analyzer
Spectrum
Analyzer
EDFA
(optical amp)
Yellow Vertical & Horizontal LLRF Electronics
Yellow Longitudinal Microwave Link

## Slide 9
Instrumentation Systems – 10 Hz feedback
front-to-end design (with support from other groups)
time (1s full scale)
tune
position
(mm)
run-9
dedicated fiber optic network with
high speed Gigabit Ethernet for
data delivery at 10 kHz
72 new BPM daughter cards
6 Xilinx ML-510 (FPGA) with new DACs
24 new corrector dipoles
OFF
ON
Luminosity at
STAR and PHENIX
time

## Slide 10
Instrumentation Systems – Electron Lens
backscatter detector
collector
scrapers and pinhole
imaged cathode
particle studio and spice simulations for E-Lens BPM
YAG and pinhole profiles
instrument holder
strongback after assembly after transport
BPM
Instrumentation Systems – Electron Lenses

## Slide 11
Instrumentation Systems – high level applications
developments of beam control apps leveraging off of improved instrumental resolution
9 o’clock snake
ONLINE ORBIT FIT - reveals model imperfections
COUPLING CORRECTION - local and global methods independent
RAMP OPTICS MEASUREMENTS
OPTICS CORRECTION
(Based on new methods for automated data acquisition using also feedback to ensure good conditions and reproducibility)
Blue Ring horizontal
Blue Ring vertical
beta functions (m)
Time during acceleration (s)

## Slide 12: Instrumentation
FY2010 FY2011 FY2012 FY2013