## Slide 1
Options for the Endcaps
Annalisa D’Angelo
University of Rome Tor Vergata & INFN Rome Tor Vergata Rome – Italy
for the EIC Collaboration

## Slide 2
Options
Options for Endcap geometry:
      4 Quadrants vs 2 semi-circles
      (R,) readout vs (X,Y) vs (U,V)
50 cm external radius
5 cm internal hole

## Slide 3
Totem T1 @CERN
10 semicircles of 190 degrees aperture
Each semicircle is segmented into three
subsections

## Slide 4
Totem T2 @CERN
10 semicircles of 190 degrees aperture
Tracking and trigger performances
Radial and azimuthal readout
15 cm external radius
4 cm internal hole

## Slide 5
Totem T2 @CERN
256 concentric semicircular strips 400 pitch and 80 width
1560 pads for azimuthal readout 2x2 mm 7x7 mm

## Slide 6
EIC Endcaps
100
190
4 x 5overlap
54 cm
100 cm
54 cm
54 cm
2 x 5overlap

## Slide 7
EIC Endcaps
100
190
54 cm
100 cm
54 cm
54 cm
PROs | CONs
One vertical/horizontal overlap only – less material | Larger detector surfaces are more difficult to handle.
The two endcaps may be rotated by 90 one respect to the other to recover overall symmetry | Longer strips: Readout should be segmented into two sectors to avoid too long strips
PROs | CONs
One vertical/horizontal overlap only – less material | Larger detector surfaces are more difficult to handle.
PROs | CONs
Smaller dimensions are easier to handle | Two vertical and horizontal overlapping regions – more material
Each endcap is intrinsically symmetric | 
Strips length are shorter | 
      2 semi-circles
4 Quadrants

## Slide 8
EIC Endcaps
100
54 cm
100 cm
54 cm
54 cm
190
𝐶 = 𝜀0×𝜀𝑟× =120 𝑝𝐹×𝐿(𝑚) - 𝑤=0.2 𝑚𝑚, 𝑝=0.4 𝑚𝑚 strip

## Slide 9
EIC Endcaps
PROs | CONs
Direct radial and azimuthal information | The linear density of the azimuthal strips increases by a factor 10 on the inner hole
 | The radial readout hybrid FE overlaps the active area or flex cables should be used.
 | Radial strip length varies by a factor 10.
PROs | CONs
The strip length does not vary much along the active area | Alignment is critical
All readout FE hybrids may be located outside the active area | Routes to read-out connectors must be accurately studied
      R,
      X,Y

## Slide 10
To be studied
Compass @ CERN
Forward Micromega Tracker @ CLAS12
Material budget:
  Active area
  At the overlapping region