## Slide 1
Streaming Readout Groups Interest in Calibrations
SRO group has the goal of doing final reconstruction during data taking (~3 weeks latency)
Calibrations is one of the biggest obstacles.
Meeting Tuesday 12/19 @9am is to discuss this, and we are looking for input from calorimeters
We know it is premature to define exactly the calibration procedures, but we do need to know what kinds of things we need to support.

## Slide 2
Streaming Readout Groups Interest in Calibrations
An (approximate) list of different calibrations needed
  External data you needed (collider, slow controls, etc…)
  if you need specific beam conditions, or
  if you need other detectors to be calibrated before you start, and
  what the time scales you need (does the calibration go continuously, getting better every day, or do you take n-events and call it done!)
  How much data you need to finish the calibration
  Do you need human intervention, or can it be done automatically
    If you do need human intervention, is there support from the SRO group that can make this human intervention easy (and fast)
  What are the deliverables of the calibration
    Detector settings
    Early DAQ process before data files are finished being constructed,
    Applied during reconstruction
    Applied during analysis
  Do you need external storage or DBs with logic, and e.g. store multiple versions of calibrations applying to the same time periods.