## Slide 1
Mounting Fixture + Test Samples
Electron gun + Filled Crucibles
Quartz Crystal Microbalance
Monitoring Mirrors
Test Carbon Fiber Sample + Tape stability

## Slide 2
Material Loaded into crucibles: Initial Mass Crucible 1:
5.10 grams
Mass of Al added:
3.65 grams
Initial Mass Crucible 2:
5.06 grams
Mass of Cr:
7.12 grams
Roughly ~¾ of the crucibles to prevent overflow

## Slide 3
Ionization Gauge: Measure of pressure inside the chamber (~ 3 * 10^-6 torr )