## Slide 1: Enabling R&D for Advanced M/L-WIR Laser Concepts New proposal
26th ATF Users’ Meeting
2024-03-27
Misha Polyanskiy and Dismas Choge

## Slide 2
Title | Enabling R&D for Advanced M/L-WIR Laser Concepts
Status | New proposal
PI | Mikhail Polyanskiy
Team | M. Babzien, D. Choge, W. Li, I. Pogorelsky
Funding | DOE ARDAP grant Phase II (2022—2025; PI: M. Polyanskiy) ATF laser R&D funding
Funding Status | Received

## Slide 3: Mission
Systematically study laser-damage characteristics of infrared materials and laser optics under the action of intense LWIR laser irradiation
Deploy a full-scale working prototype of a post-compressor for a 2 ps to 500 fs compression
Initiate a pump/probe study of free carrier dynamics in semiconductor materials relevant for M/L-WIR lasers
Provide a framework for “small” research tasks needed for the development of M/L-WIR lasers

## Slide 4: Laser-induced damage characterization
FWHM = 0.9 mm
FWHM = 9 mm
FWHM 38–50 mm

## Slide 5
Wedge
plate
Beam profiler
(Ophir Spiricon Pyrocam IV)
Sample on
X-Y stage
BaF2 lens)
(F=2m)
Cu
Mirror
9.2 µm
2 ps
CO2 Laser
< 100 mJ
Au
Mirror
Single-shot laser Damage Experiment
Mounted Sample

## Slide 6
Laser beam spot size criterion
Pulse energy, -shot-shot variations originating from regen amplifier
Damaged Area, S (measured offline with e.g optical microscope)
Peak Fluence (J/cm2)
Damaged Area (µm2)
Plot to obtain effective spot radius and threshold fluence
Sergey A. Lizunov et al., Applied Physics A (2022) 128:602
Critical measurements

## Slide 7
Single-shot approach
Laser
Sample
Digital image of Al mirror
Optical Microscope image of damaged spot for high energy shot
Optical microscope image of damaged spot for low energy shot (but above damage threshold)
Al mirror
Laser in
Sample
The sample translated to a new position after every shot
10x
10x

## Slide 8
Eth
ω0
Eth-Extrapolation to zero (A=0 µm2; No damage)
ω0-Obtained from slope
Liu’s method
Sample: Nacl window

## Slide 9
NaCl window
Increasing pulse energy
Damage morphologies
10x
10x
10x
Reported Fth: 0.5 J/cm2 (P. B. Corkum, IEEE J. Quantum Electron, 1985)

## Slide 10: Next-generation CO2 laser: Post-compression
Self-phase modulation
Linear dispersion

## Slide 11: Proof of principle
278 mJ
Polyanskiy et al. Opt. Express 29, 31714 (2021)
In
290 fs
Autocorrelation
2 ps
Out
2 ps
5 mm dia. beam center
Whole beam
in
out
in
out

## Slide 12: Post-compressor effort roadmap (v. 2023)
Demonstrated post-compression
Opt. Express 29, 31714 (2021)
Next demonstration “3 TW”
2023 to-do
Ultimate design
Proceedings of AAC ‘22
ARDAP Phase I product
IN
Autocorrelation
OUT

## Slide 13: 1st Prototype
measured within a central portion of the beam containing 30% of the total energy
Most powerful long-wave infrared sub-picosecond pulse ever obtained
IN
OUT
Beam center 700 fs
Model
Experiment
Pogorelsky et al. – Front. Phys. (accepted)

## Slide 14: Semiconductor switch
Control pulse
Semiconductor plate

## Slide 16
NIR/VIS/UV control - 5 ns
LWIR probe - 0.5 ps
PD2
PDT
PDR
PD1
Sample
Pump-probe experiments
(Materials for laser-controlled LWIR optical switching elements)

## Slide 17: Mission
Systematically study laser-damage characteristics of infrared materials and laser optics under the action of intense LWIR laser irradiation
Deploy a full-scale working prototype of a post-compressor for 2 ps -> 500 fs compression
Initiate a pump/probe study of free carrier dynamics in semiconductor materials relevant for M/L-WIR lasers
Provide a framework for “small” research tasks enabling the development of M/L-WIR lasers

## Slide 18
Parameter | Units | Typical Values | Comments | Requested Values
Beam Energy | MeV | 50-65 | Full range is ~15-75 MeV with highest beam quality at nominal values | -
Bunch Charge | nC | 0.1-2.0 | Bunch length & emittance vary with charge | -
Compression | fs | Down to 100 fs (up to 1 kA peak current) | A magnetic bunch compressor available to compress bunch down to ~100 fs. Beam quality is variable depending on charge and amount of compression required. NOTE: Further compression options are being developed to provide bunch lengths down to the ~10 fs level | -
Transverse size at IP (s) | mm | 30 – 100 (dependent on IP position) | It is possible to achieve transverse sizes below 10 um with special permanent magnet optics. | -
Normalized Emittance | mm | 1 (at 0.3 nC) | Variable with bunch charge | -
Rep. Rate (Hz) | Hz | 1.5 | 3 Hz also available if needed | -
Trains mode | --- | Single bunch | Multi-bunch mode available. Trains of 24 or 48 ns spaced bunches. | -
Electron Beam Requirements

## Slide 19
Configuration | Parameter | Units | Typical Values | Comments | Requested Values
CO2 Regenerative Amplifier Beam | Wavelength | mm | 9.2 | Wavelength determined by mixed isotope gain media | 9.2
 | Peak Power | GW | ~3 |  | ~3
 | Pulse Mode | --- | Single |  | Single
 | Pulse Length | ps | 2 |  | 2
 | Pulse Energy | mJ | 6 |  | 6
 | M2 | --- | ~1.5 |  | ~1.5
 | Repetition Rate | Hz | 1.5 | 3 Hz also available if needed | 1.5
 | Polarization | --- | Linear | Circular polarization available at slightly reduced power | Linear
CO2 CPA Beam | Wavelength | mm | 9.2 | Wavelength determined by mixed isotope gain media | 9.2
Note that delivery of full power pulses to the Experimental Hall is presently limited to Beamline #1 only. | Peak Power | TW | 5 | ~5 TW operation will become available shortly into this year’s experimental run period. A 3-year development effort to achieve >10 TW and deliver to users is in progress. | 2
 | Pulse Mode | --- | Single |  | Single
 | Pulse Length | ps | 2 |  | 2
 | Pulse Energy | J | ~5 | Maximum pulse energies of >10 J will become available within the next year | ~5
 | M2 | --- | ~2 |  | ~2
 | Repetition Rate | Hz | 0.05 |  | 0.05
 | Polarization |  | Linear | Adjustable linear polarization along with circular polarization can be provided upon request | Linear
CO2 Laser Requirements

## Slide 20
Ti:Sapphire Laser System | Units | Stage I Values | Stage II Values | Comments | Requested Values
Central Wavelength | nm | 800 | 800 | Stage I parameters are presently available and setup to deliver Stage II parameters should be complete during FY22 | TBD
FWHM Bandwidth | nm | 20 | 13 |  | TBD
Compressed FWHM Pulse Width | fs | <50 | <75 | Transport of compressed pulses will initially include a very limited number of experimental interaction points. Please consult with the ATF Team if you need this capability. | TBD
Chirped FWHM Pulse Width | ps | 50 | 50 |  | TBD
Chirped Energy | mJ | 10 | 200 |  | TBD
Compressed Energy | mJ | 7 | ~20 | 20 mJ is presently operational with work underway this year to achieve our 100 mJ goal. | TBD
Energy to Experiments | mJ | >4.9 | >80 |  | TBD
Power to Experiments | GW | >98 | >1067 |  | TBD
Other Experimental Laser Requirements
Nd:YAG Laser System | Units | Typical Values | Comments | Requested Values
Wavelength | nm | 1064 | Single pulse | TBD
Energy | mJ | 5 |  | TBD
Pulse Width | ps | 14 |  | TBD
Wavelength | nm | 532 | Frequency doubled | TBD
Energy | mJ | 0.5 |  | TBD
Pulse Width | ps | 10 |  | TBD

## Slide 21: Special Equipment Requirements and Hazards
Electron Beam
  Please indicate any special equipment that you expect to need, including (but not limited to) the transverse deflecting cavity, shaped bunch using mask technique, plasma capillary discharge system, bolometer/interferometer setup etc.:
CO2 Laser
  Please note any specialty laser configurations required here:
Ti:Sapphire and Nd:YAG Lasers
  Please note any specialty non-CO2 laser configurations required here: CW CO2 & ns Nd:YAG @ 355, 512 & 1024 nm
Hazards & Special Installation Requirements
  Large installation (chamber, insertion device, etc.):
  Cryogens:
  Introducing new magnetic elements:
  Introducing new materials into the beam path:
  Any other foreseeable beam line modifications:

## Slide 22
Capability | Setup Hours | Running Hours
Electron Beam |  | 
NIR Laser |  | 
LWIR Laser | 40 | 2 x 40 = 80
CY2024 Time Request
Capability | Setup Hours | Running Hours
Electron Beam |  | 
NIR Laser |  | 
LWIR Laser | 40 x 3 = 120 | 80 x 3 = 240
Total Time Request for the 3-year Experiment (including CY2024-26)