## Slide 1: Pair Spectrometer
Simulation results
N. Zachariou
Jan 16th 2024

## Slide 2: MC distributions
Photon Position at Converter
Photon Energy Spectrum

## Slide 3: Electron-Positron Hit positions
Upper Calorimeter
Lower Calorimeter
Distributions show the hit positions at the second tracker
X spread driven by beam size
Y spread driven by e+e- energy

## Slide 4: Calorimeter Energy Distributions
Upper Calorimeter
Lower Calorimeter
Spread of distribution driven by beam size and Moliere radius
Spread of distribution driven by e+/e- energy
Shower Profile

## Slide 5: Moliere Radius
Determined from X hit – X mc position (Energy distribution)
Moliere Radius (95% of the total shower) was determined to be 21 mm

## Slide 6: Sampling fraction
Upper Calorimeter
Lower Calorimeter

## Slide 7: Y Position Resolution
Upper Calorimeter
Lower Calorimeter
For each event (Eclust>0.05 MeV):
Fit Slices y vs z with Gaussian
Fit Gaussian Means vs Z with linear function
Extrapolated to y_tracker
Compare to tracker y hit position
1 mm pixel size
Pixel size determined from histogram binning

## Slide 8: Y Position Resolution
Upper Calorimeter
Lower Calorimeter
For each event (Eclust>0.05 MeV):
Fit Slices y vs z with Gaussian
Fit Gaussian Means vs Z with linear function
Extrapolated to y_tracker
Compare to tracker y hit position
3 mm pixel size
Pixel size determined from histogram binning

## Slide 9: Y Position Resolution
Upper Calorimeter
Lower Calorimeter
For each event (Eclust>0.05 MeV):
Fit Slices y vs z with Gaussian
Fit Gaussian Means vs Z with linear function
Extrapolated to y_tracker
Compare to tracker y hit position
4.5 mm pixel size
Pixel size determined from histogram binning

## Slide 10: X Position Resolution
Upper Calorimeter
Lower Calorimeter
For each event (Eclust>0.05 MeV):
Fit Slices X vs z with Gaussian
Fit Gaussian Means vs Z with a linear function
Extrapolated to x_tracker
Compare to tracker x hit position
1 mm pixel size
Pixel size determined from histogram binning

## Slide 11: X Position Resolution
Upper Calorimeter
Lower Calorimeter
For each event (Eclust>0.05 MeV):
Fit Slices X vs z with Gaussian
Fit Gaussian Means vs Z with a linear function
Extrapolated to x_tracker
Compare to tracker x hit position
3 mm pixel size
Pixel size determined from histogram binning

## Slide 12: X Position Resolution
Upper Calorimeter
Lower Calorimeter
For each event (Eclust>0.05 MeV):
Fit Slices X vs z with Gaussian
Fit Gaussian Means vs Z with a linear function
Extrapolated to x_tracker
Compare to tracker x hit position
4.5 mm pixel size
Pixel size determined from histogram binning

## Slide 13: Acceptance
Photon energy generated
Photon energy for events where e+e- are reconstructed
Acceptance
Cluster energy in up (blue) and down (Red) cal