## Slide 1
Integration Meeting – February 20th 2024
Annalisa D’Angelo
University of Rome Tor Vergata & INFN Rome Tor Vergata Rome – Italy
for the EIC Collaboration

## Slide 2
MPGD Endcaps Geometry
https://eic.jlab.org/Geometry/Detector/Detector-20240117135224.html
Last update: Jan. 17th2024
50 cm external radius - including frames and services
5 cm inner radius
Endcaps - dimensions

## Slide 3
Endcap Semi-Detectors Overlap
Frame thickness = 15 mm
Active area overlap = 20 mm
Vertical Diameter = 1000 mm
Horizontal width = 525 mm
Overlap thickness (free from frames) = 2 cm
1000 mm
525 mm

## Slide 4
MPGD Endcap Semi-Detectors Overlap
1000 mm
525 mm
525 mm
1000 mm

## Slide 5
Endcap Semi-Detectors Overlap
How are we going to attach the endcaps to the outer support?
Question
By Seung Joon Lee

## Slide 6
For each endcap disk (4 disks in total):
16 HV cables
4 gas inlets and 4 gas outlets
32 data cables
32 low low voltage cables
2 temperature sensors cables
2 humidity sensors cables
2 dry air inlet and 2 dry-air outlet cooling hoses
Space for 32 RDO cards
List of MPGD Endcaps Services
By Seung Joon Lee
Total services: all numbers x 4

## Slide 7
Geometry: Compatibility with CyMBal dimensions
Integration: Support details
To be understood: Space for electronic cards and services
List of Issues to Address
By Seung Joon Lee