## Slide 1: pfRICH Slow Controls Preliminary Assessment

## Slide 2: sPHENIX Slow Controls

## Slide 3: sPHENIX Slow Controls

## Slide 4: System Diagram
Slow Controls
EPICs Server
Slow Controls
Database Server
Polyscience
Chiller
Chilldyne
Circulator
FEEs
RDOs
CAEN
HV System
Weiner
LV System
Gas System
Sensors
PLC
I2C
ASCII/
USBTMC
HTTP
Server
OPCUA
SNMP
Light
Monitoring

## Slide 5: Parameters to Monitor
FEEs
  Temperature
Power
  High voltage power
  Low voltage power
Cooling
  Flow
  Temperature
  Reservoir level (Polyscience only)
Gas
  Pressure
  Flow
  Temperature
Light

## Slide 6: Equipment Considerations
UPS for HV module
Gateway for Polyscience chiller
PLC for generic sensor integration
  May fall in line with larger ePIC strategy