## Slide 1
Data courtesy C. Naylor
Chart: C-AD ACTIVITY April 2024
| FY24-week 27: | FY24-week 28: | FY24-week 29: | FY24-week 30:
Physics | 0 | 0 | 0 | 7.93
Machine Development | 0 | 0 | 0 | 0
Beam Studies | 0 | 0 | 0 | 0
Experimenter Setup | 0 | 0 | 0 | 46.72
Machine Setup | 0 | 22.77 | 78.3 | 77.7
Scheduled Maintenance | 0 | 0 | 3.57 | 10
Scheduled Shutdown | 168 | 144 | 27.83 | 0
Unscheduled Shutdown | 0 | 0 | 0 | 0
Machine Failures | 0 | 1.23 | 58.3 | 25.65

## Slide 2
Data courtesy C. Naylor
Chart: C-AD ACTIVITY MAY 2024
| FY24-week 31: | FY24-week 32: | FY24-week 33: | FY24-week 34: | FY24-week 35:
Physics | 116.45 | 76.3 | 74.13 | 106.45 | 90.83
Machine Development | 4.63 | 4.98 | 5.35 | 0 | 1.43
Beam Studies | 0 | 12.72 | 9.8 | 0 | 0
Experimental setup | 0.42 | 3.48 | 2.92 | 0.42 | 2.68
Setup | 30.33 | 25.4 | 17.27 | 21.82 | 36.23
Scheduled Maintenance | 2.58 | 9.57 | 10.62 | 10.1 | 0
Scheduled Shutdown | 0 | 0 | 0 | 0 | 0
Unscheduled shutdown | 0 | 0 | 0 | 0 | 0
Machine failures | 13.59 | 35.55 | 47.91 | 29.21 | 36.83
Chart: C-AD ACTIVITY JUNE 2024
| FY24-week 36: | FY24-week 37: | FY24-week 38: | FY24-week 39:
Physics | 77.55 | 0 | 0 | 0
Machine Development | 2.18 | 0 | 0 | 0
Beam Studies | 0 | 0 | 0 | 0
Experimental setup | 2.3 | 0 | 0 | 0
Setup | 31.27 | 0 | 0 | 0
Scheduled Maintenance | 12.07 | 0 | 0 | 0
Scheduled Shutdown | 0 | 0 | 0 | 0
Unscheduled shutdown | 0 | 0 | 0 | 0
Machine failures | 42.63 | 0 | 0 | 0

## Slide 3
Data courtesy C. Naylor
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- April 2024
| 04/02/24/2 to 04/09/24/1 | 04/09/24/2 to 04/16/24/1 | 04/16/24/2 to 04/23/24/1 | 04/23/24/2 to 04/30/24/1 | 0/0/00/2 to 0/0/00/1
PS_RHIC | 0.010578 | 0.018299
PPS_RHIC | 0.026868 | 0.016478
PPS_AGS | 0.0031387 | 0.0072191
PS_AGS | 0.021218
LinacRf | 0.069335 | 0.017546
RfBooster | 0.003892
ElecRHIC (power dip) | 0.0067169
ElecAGS (power dip) | 0.0067169
ElecBooster (power dip) | 0.0067169
ElecLinac (power dip/OPPIS) | 0.012555
RfRHIC | 0.0078782
RfAGS | 0.0072819

## Slide 4
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- MAY 2024
| 04/30/24/2 to 05/07/24/1 | 05/07/24/2 to 05/14/24/1 | 05/14/24/2 to 05/21/24/1 | 05/21/24/2 to 05/28/24/1 | 05/28/24/2 to 06/04/24/1
PPS_AGS | 0.0032213
ACG_RHIC | 0.0041381 | 0.0027257
ES&FD_Exp | 0.0015735
RadMonIntlk | 0.0037664 | 0.0016354 | 0.0015735 | 0.0043611
PS_AGS | 0.0067895
PS_RHIC | 0.0020443 | 0.020145 | 0.0084001
PPS_RHIC | 0.025052
RfRHIC | 0.0023912 | 0.0027629
CryoRHIC | 0.0038779 | 0.0039399
InjPerformance | 0.0014248
LinacRf | 0.018671 | 0.0059098 | 0.0023292
LinacTankQ | 0.0046833
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM - JUNE 2024
| 06/04/24/2 to 06/11/24/1 | 06/11/24/2 to 06/18/24/1 | 06/18/24/2 to 06/25/24/1 | 06/25/24/2 to 07/02/24/1
PS_RHIC | 0.012955
PS_AGS | 0.11807
ACG_RHIC | 0.011095
LinacRf | 0.027063
CryoAGS | 0.018213
ES&FD_Exp | 0.024049
InstAGS | 0.02546
RadMonIntlk | 0.023023
sum<1hr | 0.013468 | 0 | 0 | 0

## Slide 5: Operations for BLIP
No BLIP
this past week
6/4-6/11/2024:
200 MeV Th target resumed Monday. Beam current from Source #2 variable
151.67 hr Production
0.97 hr Setup
11.58 hr Failure
3.78 hr Maintenance
Availability: 92.9%

## Slide 6: NSRL activity past week: 6/4-6/11/2024 (as of 0800)
Availability: 82.3%
NSRL: same user last week and this week, MDA.
8 EBIS ions in use. (Si, Fe, Ag, Tb, Ta, Bi, C, Ti)
Running 24-C schedule since 22 May. Schedule posted, details updating; beam into November.
Chart: NSRL Hours
| Experimental Setup | Failure | Machine Development | Machine Setup | Operator Training | Scheduled Maintenance | Scheduled Shutdown | Science
NSRL Hours | 6.95 | 15.65 | 0 | 7.03 | 0 | 4.92 | 74.77 | 58.68
Chart: NSRL Hours
| Experimental Setup | Failure | Machine Setup | Scheduled Maintenance | Scheduled Shutdown | Science
NSRL Hours | 6.95 | 15.65 | 7.03 | 4.92 | 74.77 | 58.68

## Slide 7: Notes from Operations
Notable failures (>1 hr)
AMMPS – circuit boards in exciter PS replaced
AGS Loss Monitor – PS and MADC replaced (cold snake loss permit dropped with no beam in AGS)
LINAC RF mod 5 – 4CW25K grid supply replaced
AGS cold snake LHe refill
sPHENIX access to work on EMCal
AMMPS trip – Fast 95 switch reset
AGS cold snake – ramp down/up between stores
(problem with cold head, repair during overnight)
RHIC sector 8 dropped to SA & lost sweep 7z1
(hardware fault – replace regulator on gate current loop)
Some trouble with bi5-qf9 last night
Other notes
ODH alarm 1004E – Oxigraf replaced
A/C problem A10 house – portable units installed (workorder submitted to fix a bad compressor)
STAR trim west magnet trips (2x)
EBIS LINAC – 4Ω resistors and 10A fuse replaced (reseated relay to clear a phase failure)
D6 septum trips on high temp/water flow faults
(replaced leaking heatsink and damaged circuit boards)
Power Dip – relatively short recovery
Double digits…

## Slide 8: Reminder from Operations
MCR continues Operations for:
  BLIP – continues through 14 June.
  NSRL user scheduled to run Mon-Sat this week.
  AGS/Booster polarized proton setup continues, additional to RHIC physics.
    Polarized proton setup curtailed due to AGS cold snake trouble. Repairs due to begin this evening and go through the overnight until tomorrow evening.
    APEX on Wednesday will use unpolarized beam until AGS cold snake is ready.
    Injector Au, h setup as yet untested.
    Skew quad testing continues as beam time allows.
  RHIC beam for Physics stores.
    Other MD, Maintenance, APEX as noted in schedule
RHIC Tunnel sweeps remain under ODH-1 restrictions.
CHECK AND EDIT YOUR OWN CONTACT INFO
  http://directory.pbn.bnl.gov/
CHECK YOUR CALLIN LIST: WCC and ECP updates needed
  https://www.cadops.bnl.gov/Operations/personnel/call_in_lists/
  Note: Core Electrical contacts listed/managed on ESSHQ callin list https://www.cadops.bnl.gov/Operations/personnel/call_in_lists/call_in_list.php?group=esshq

## Slide 9
Courtesy R. Terheide
Preliminary delivered Luminosity, Figure of Merit (LP2) data for RHIC

## Slide 10
Chart: Availability: RHIC Run-24
| week 1 | week 2 | week 3 | week 4 | week 5 | week 6 | week 7 | week 8 | week 9 | week 10 | week 11 | week 12 | week 13 | week 14 | week 15 | week 16 | week 17 | week 18 | week 19 | week 20 | week 21 | week 22 | week 23 | week 24 | week 25 | week 26 | week 27 | week 28 | week 29 | week 30 | week 31 | week 32 | week 33 | week 34 | week 35 | week 36 | week 37 | week 38 | week 39
Availability | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94875 | 0.57321 | 0.83766 | 0.91785 | 0.77561 | 0.69558 | 0.81501 | 0.78077 | 0.72661 | 0 | 0 | 0
Average | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.94875 | 0.62933 | 0.73264 | 0.79594 | 0.79093 | 0.77216 | 0.77923 | 0.77946 | 0.77303 | 0.77303 | 0.77303 | 0.77303
Goal | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.825 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
Chart: Run24 availability
| FY24-week 27: | FY24-week 28: | FY24-week 29: | FY24-week 30: | FY24-week 31: | FY24-week 32: | FY24-week 33: | FY24-week 34: | FY24-week 35: | FY24-week 36: | FY24-week 37: | FY24-week 38: | FY24-week 39:
Availability | 0 | 0.94875 | 0.57321 | 0.83766 | 0.91785 | 0.77561 | 0.69558 | 0.81501 | 0.78077 | 0.72661 | 0 | 0 | 0
Avg. Availability: 77.3%
72.6%

## Slide 11
Chart: Mean Time Between Failure, Mean Time To Repair, Average Failure Hours per Day (cryo start to cryo end date)
| MTBF | MTTR | Failure hr/day
Run7 | 5.3 | 2 | 6.3
Run8 | 6.3 | 1.2 | 3.8
Run9 | 5.5 | 1.3 | 4.42
Run10 | 5.5 | 1 | 3.8
Run11 | 5.7 | 1.2 | 4.5
Run12 | 6.9 | 1.1 | 3
Run13 | 6.6 | 1.2 | 3.5
Run14 | 8.6 | 1.3 | 3
Run15 | 8.1 | 1.1 | 3.1
Run16 | 6.4 | 1.2 | 3.6
Run17 | 6.8 | 1.2 | 3.7
Run18 | 9.3 | 0.9 | 2.1

## Slide 12: Availability, expected beam hours
Notes: Normally hidden. Explains how the 85% from DOE comes in to play, & general availability metrics