## Slide 1: Electronics & DAQ WG – 4/25/2024
Agenda
Announcements
Comments regarding Threshold / Radiation Damage / Noise for SiPM detectors
Full timing resolution clarification by detector
Other business

## Slide 2: Announcements
Electronics and DAQ 2nd preliminary design review
    Expect for the week of June 10th – June 14th: 6 weeks to prepare
    Will be 2 day PDR for the DAQ, ASICs, RDO
        Include status presentations from each eRD109 project
        Relevant descriptions of SRO WG plans (time frame definition/contents, calibration dependency map, double copy of data) but make it clear that the reconstruction is off project… and in particular 3-week schedule not a KPM
    Will be FDR for the VTRX+ and lpGBT
        How should this be structured?
        We have solid counts from Tracking/dRICH
        We have documentation of the chips and their cost, we will need to be able to satisfy “drill-down” (Does P6 match? Do we need/have a detailed plan for procurement/QA, delivery, testing?)
        What talks/descriptions do we need of their use? Use plan? Justification?
          Tracking
            “ITS3 architecture requires it for slow controls”
          dRICH
            “Space used”
          Prepare answer for question, “Why not needed in other regions?”
            “Obsolete (production-wise, if not technology-wise)”
            “40Mhz issues for lpGBT”

## Slide 3: Announcements
Technology options for the pfRICH and DIRC are (and have been for a long time)
  FCFD
  EICROCx (Barrel TOF version of EICROC)

## Slide 4: Noise/ threshold / radiation damage connection for SiPMs
Has been explicitly considered in context of dRICH, but no so much in context of calorimeters
Talk from Akio Ogawa (STAR FCS) in project electronics meeting (posted to today’s indico)
    Significant effects from damage to voltage regulator chip
    The effects were qualitatively different in eCAL vs hCAL
      Different overvoltage, different gain
      Different radiation environment
      Different light levels
      Different thresholds
      (in context of ePIC different aggregation of the SiPMs)
      Dynamic range requirements
Need simulations of the response to signal and the response to radiation damage
    “Simple” simulations modeling electronics, not “Finalize software framework” simulations
    But for each detector!
Detector | Channels | Noise Target (Gb/s) | Channel Rate (Hz) | Sigma
LFHCAL | 63k | 2 | 256 | 4.5
HCAL insert | 8k | 2 | 1953 | 4.2
Fwd ECAL W/SciFi | 16k | 2 | 976 | 4.3
Barrel HCAL | 7k | 2 | 2232 | 4
Barrel Ecal SciFi/Pb | 6k | 2 | 2604 | 4
NHCAL | 3.2k | 2 | 4882 | 4
NECAL | 2.8k | 2 | 5580 | 4
Assumptions:
  128 bit hits
  98.5MHz clock
Are these consistent with
5-15 MeV per-channel thresholds?

## Slide 5: Full timing resolution for each detector
https://docs.google.com/spreadsheets/d/1s8oXj36SqIh7TJeHFH89gQ_ayU1_SVEpWQNkx6sETKs/edit?pli=1#gid=238482234
Kolja needs the measured timing resolution for each detector (after digitization) for a reasonable evaluation of reconstructing time frames. The document listing time resolutions is not trivial to interpret!
Detector | Time resolution (physics hit measured) | Notes
ITS-3 | 2us | 
MPGD | 20ns | 500 ns shaping, 20ns target, 20ns total,
Barrel TOF | 30ps | 5ns shaping, 30ps total, 10ps time
Endcap TOF | 25ps | 5ns shaping, 25ps total, 10ps time
pfRICH / DIRC | 50ps | ~50ps in comments
dRICH | 10ns | 50ps (digitizer)
CALOROC ECal | 10ns | 100ns shaping, few ns, time resolution 100ps Time resolution, 25ps TOA, 50ps TOT
CALOROC Hcal | 10ns | 25ns shaping, 25ns target, 100ps Time resolution, 25ps TOA, 50 ps TOT
Discrete Calorimeter | 10ns | 25ns shaping, 25ns target
FF AC-LGAD | 50ps | 750ps shaping, 30ps target, 30-50ps total, 15-20ps jitter,
B0 calorimeter | 10ns? | No entry
ZDC | 10ns? | No timing entries
FB: low Q tagger | 100ps? | 100ps time resolution, =50ps in time bits column (timepix)
FB: low Q calorimeter | 10ns? | No entry (forward ecal tech?)
FB: Pair Spec Cal | 10ns? | No entry (forward ecal tech?)
FB: Pair Spec tracker | 30ps? | No entry (FCFD – as per barrel etof)
FB: Direct Photon | 10ns | 

## Slide 6: Other business?