## Slide 1
Agenda
(https://indico.bnl.gov/conferenceDisplay.py?confId=2334)
ANSYS Magnetostatic & Structural Analyses (J. Cozzolino)
Status Reports:
P. Rosas (Power Supply)
  Still working on getting the all the testing done on both the PS and dump resistor.
  Have done a heat run of the resistor by itself  All is OK,
  Got a new magnet load to run the PS to 3000 A but still several items we need to finish before we can put power to the load.
Zeynep / Carl (quench detector / DAQ )
  Zeynep is waiting for Carl to provide the technical specifications … Meeting next week ?
J. Muratore ( Low-Field test report writing )
  Working on the description of the experimental set-up and the lists of tests that are done. Result section to follow.
AOB