## Slide 1: Modular RICH Simulation and Beam Test Result
Cheuk-Ping Wong
Georgia State University
10-10-2016

## Slide 2: Beam and Detector Setup
Simulation
Beam
  120 GeV proton
  Toward the center of detector perpendicularly
  1,000 events
Detector
  Marco’s agel (n=1.03)
  Fresnel lens
  Mirror set
Beam Test
Beam
  120 GeV proton
  Toward the center of detector perpendicularly
  ~1200 events
Detector
  Marco’s agel (n=1.03)
  Fresnel lens
  Mirror set

## Slide 3: Ring Finder Analysis Procedure
Accumulated Data of Entire Run

## Slide 4: Ring Finder Algorithm Update
When filling 3D (a,b,r) histogram
Center position(a,b) cut:
  If (|a|>3mm or |b|>3mm) skip;
✘
✘
Not considered
No Chopping on center position

## Slide 5: Ring Finder Algorithm
Simulation
Quantum Efficiency applied before ring finder
Run 70
tover: Time over threshold, signal amplitude
Expected value and uncertainty
from simulation result
Suppose Cherenkov rings are centered on the sensor plane

## Slide 6: Radius (in each event) Distribution
rexpected
3.54mm
rexpected =18.7-3.54 (gap) ±0.60 ±3 (half of single pixel size)
=15.16 ±3.6mm
Radius of each photon hit from simulation result.
No Q.E. applied
r≈18.7±0.60 mm
Sensor 1
Sensor 2
Sensor 4
Sensor 3
Not on scale

## Slide 7: Weight Functions
√(a2+b2) (mm) / r (mm)

## Slide 8: Event Displays from Simulation
Num of hits

## Slide 9: Event Displays from Beam Test Data
Signal Amplitude

## Slide 10: Cherenkov Ring Radius
Incident particle
Cherenkov photons
lens
Focal plane
θ’
θ
r
f
Aerogel
Air
θ
θ’
Ring size is independent on thickness of the aerogel or air gap
Proportional to focal length
Theoretical value of Cherenkov ring radius in modular RICH detector:
mm (120GeV/c proton)
Sensor plane setup

## Slide 11: Cherenkov Ring Radius
Simulation
Beam Test
Good ring:
radius is within expected range
Distance from the sensor center to the ring center is within 3mm
Notes: Since the Ring Finder algorithm will always give a a ring. We have to evaluate the found rings properties.

## Slide 12: Center Distribution
Simulation
Run 70

## Slide 13: Number of Cherenkov Photons per Event
(with n=1.03)
Fresnel lens transmission
Glass window transmission
Sensor quantum efficiency
Aerogel transmission
Estimated number of Cherenkov photons in modular RICH detector:
Maximum number of Cherenkov photons:
Fine structure const.
Thickness of radiator
β=v/c
Refractive index of radiator

## Slide 14: Number of Cherenkov Photons per Event
Simulation
Beam Test
Only consider the events that give good rings
Notes: Agree with theoretical number

## Slide 15: Summary
Ring Finder Algorithm is applied on beam test data
 | Theoretical number | Simulation | Beam Test
Cherenkov Ring Radius | 15.9mm | 15.5±0.1 mm | 15.7±0.4 mm
Num. of Cherenkov Photons | 10.33 | 11.0±2.8 | 12.8±3.2
Efficiency | / | 74.0% | 69.0%