## Slide 1: Integration, Installation and Infrastructure (Triple I Group)
Roland Wimmer
TIC Update

## Slide 2: Detector Model Updates
Inner Tracker Model Updates
Services
  VTRX+
  Cable Trays
  AC-LGAD
Flux Return
  New Simulations
  RCS
Barrel EMCAL
Subgroup Meetings

## Slide 3: Inner Tracker Updates
Have models for everything except for AC-LGAD
Recently Got models for SVT
  Bunch of interferences, will work with them to fix

## Slide 5: Services – VTRX+
Recently switch all applicable detectors over from RDOs to VTRX+ modules
Modules will be placed on each detector
The modules can only push the signal up to 2m in length so there needs to be a fiber patch to convert to MTP fiber
Each module gets 1 fiber patch, locations will vary from detector to detector
Total VTRX+ modules needed listed below
FEB or RDO
VTRX+
Fiber Patch / Feedthrough / Disconnect Panels
Sub-Detector | Qty
SVT | 1579
MPGD EE | 64
MPGD HE | 64
MPGD IB | 128
MPGD uRwell | 384
TOF Disk | 212
TOF Barrel | 288
dRICH | 1242
pfRICH | 68
Fiber Patch Panel

## Slide 6: Services – dRICH Cable Trays

## Slide 7: Services – AC-LGAD

## Slide 8: Flux Return Steel

## Slide 9: Barrel Emcal

## Slide 10: Subgroup Meetings

## Slide 11: Backup Slides