DSC dRICH Questions – 09/27/2024

- Services

  - Cables

    - Low Voltage - How many cables coming from dRICH?

    - High Voltage - How many cables coming from dRICH?

    - Sensor Bais - How many cables coming from dRICH?

    - Readout / Data - How many cables coming from dRICH?

    - Cooling estimate - More questions below, quick estimate on needs?

    - Gas lines (C2F6, dry air/nitrogen or something else)?

    - FEBs / electronics – Do we still fit in the envelope?

    - Cable Reference

  - Cooling

    - Heat Dissipation – Total heat dissipated by the detector.

      - Sensors

      - FEBs

      - RDOs

    - Heat Stability – Changes in heat dissipation over time.

      - Activity

      - Radiation damage

      - Temperature

    - Pressure Drop – Drop in pressure across the detector

    - Temperature – Desired operating temperature.

    - Tolerance – Allowable deviation from the desired temperature.

    - Gradient – Allowable difference in temperature across the detector.

    - Stability – Allowable deviation from the desired temperature over time.

    - Segmentation – The number of detector components there are that require cooling, we can determine the number of parallel or series lines, manifolding, etc.

    - Leak mitigation – Air, negative pressure water, non-conductive fluid, etc.

    - Cooling Reference

- Support

  - Mounting locations

  - Adjustment

    - Beampipe clearance (more space needed during bakeout)

  - Detector weight

  - Serviceability

  - Split in half?

  - Beam pipe clearance?

- Detector

  - Envelope

    - Barrel - 220mm Inner radius, 1800mm Outer radius, 1980mm, 3250mm pos Z (Hadron side), 1270mm total length

    - Reference

    - Reference