## Slide 1: mRICH Performance Study Angular Resolution
Cheuk-Ping Wong
Georgia State University
11-04-2016

## Slide 2: Outline
number of sigma (separation power) of mRICH
Source of error of measuring Cherenkov Angle of a simple RICH detector
Errors in mRICH lens based design
Number of sigma from simulation result of mRICH
Feasibility of proximity focusing design

## Slide 3: Uncertainty of Measured Cherenkov Angle
Sources of error
  Emission position
    D = Expansion volume
    t = thickness of radiator
  Chromatic Dispersion . Refractive index n is a function of wavelength. Thus, there is fluctuation on Cherenkov angle.
  Sensor pixel size
    a = pixel dimension
Resulting uncertainty
Mitja Predikaka, Hybrid Avalanche Photo detector for Belle II ARICH Detector, December 27, 2014

## Slide 4: Uncertainty of Measured Cherenkov Angle
Sources of error
  Emission position
    D : Expansion volume
    t : thickness of radiator
  Chromatic Dispersion . Refractive index n is a function of wavelength. Thus, there is fluctuation on Cherenkov angle.
  Sensor pixel size
    a : pixel dimension
Resulting uncertainty
Larger expansion volume D, smaller uncertainty on Cherenkov Angle. (See next slide)
Mitja Predikaka, Hybrid Avalanche Photo detector for Belle II ARICH Detector, December 27, 2014

## Slide 5: Emission Position Uncertainty of a Simple RICH Detector
D1
σθ,1
Larger expansion volume D, smaller uncertainty on Cherenkov Angle.
Cherenkov photon
Incident particle
Aerogel
r

## Slide 6: Emission Position Uncertainty of a Simple RICH Detector
D1
σθ,1
D2
σθ,2
Larger expansion volume D, smaller uncertainty on Cherenkov Angle.
Cherenkov photon
Incident particle
Aerogel
r

## Slide 7: Emission Position Uncertainty of a Simple RICH Detector
D1
σθ,1
D2
σθ,2
Larger expansion volume D, smaller uncertainty on Cherenkov Angle.
Cherenkov photon
Incident particle
Aerogel
mRICH w/o lens
mrad (D= 3”)
mrad (D= 6”)

## Slide 8: mRICH Lens Based Design
Incident particle
Cherenkov photons
lens
Sensor plane
θ’
θ
r
f
Aerogel
Air
θ’
In ideal case (infinitely small pixel size and no chromatic dispersion), errors from emission point is eliminated, and error due to emission point, , is eliminated by using focusing lens.

## Slide 9: Advantage of Lens Based Design
Uncertainty raised from emission point is minimized as a result of having focusing lens
Expansion Volume can be adjusted  minimized , while keeping ring size manageable No, you cannot change expansion volume of a proximity focusing RICH. Expansion volume of proximity focusing RICH is specified based on refractive indices of radiators.

## Slide 10: Simulation Result – Cherenkov Angle
f=3”
f=6”
Infinitesimal pixel size
.
Ring radius is proportional to focal length. Thus, is independent on expansion volume/ focal length

## Slide 11: Simulation Result – σθ Single photon measurement
f=3”
f=6”
Infinitely small pixel size  , as
Belle 2 with infinite pixel size yield ~10 mrad at 4 GeV
Infinitesimal pixel size
Infinitesimal pixel size

## Slide 12: Simulation Result – Number of Sigma
f=3”
f=6”
Infinitesimal pixel size
Infinitesimal pixel size

## Slide 13: Simulation Result – Number of Sigma
f=3”
f=6”
6x6mm2 pixel size
From simulation
Infinitesimal pixel size

## Slide 14: Simulation Result – Number of Sigma
f=3”
f=6”
3x3mm2 pixel size
Infinitesimal pixel size

## Slide 15: Simulation Result – Number of Sigma
f=3”
f=6”
2x2mm2 pixel size
Infinitesimal pixel size

## Slide 16: Simulation Result – Number of Sigma
f=3”
f=6”
1x1mm2 pixel size
Infinitesimal pixel size

## Slide 17: Proximity Focusing Design
Calculation
n1 | n2 | D1 (mm) | D2 (mm) | r (mm) | (mrad) | (with 10 photons)
1.048 | 1.055 | 270.0 | 250.0 | 89.2 | >7.38 | ~1.52
1.039 | 1.045 | 253.5 | 233.5 | 74.3 | >7.23 | <1.70
1.030 | 1.035 | 231.9 | 211.9 | 58.6 | >7.11 | <1.95
1.021 | 1.025 | 204.0 | 184.0 | 42.4 | >7.03 | <2.32
1.012 | 1.015 | 165.4 | 145.4 | 25.6 | >7.05 | <3.00
n1 | n2 | D1 (mm) | D2 (mm) | r (mm) |  | 
1.048 | 1.055 | 270.0 | 250.0 | 89.2 | >7.38 | ~1.52
1.039 | 1.045 | 253.5 | 233.5 | 74.3 | >7.23 | <1.70
1.030 | 1.035 | 231.9 | 211.9 | 58.6 | >7.11 | <1.95
1.021 | 1.025 | 204.0 | 184.0 | 42.4 | >7.03 | <2.32
1.012 | 1.015 | 165.4 | 145.4 | 25.6 | >7.05 | <3.00
r
Sensor plane
θ
Incident particle
n1
n2
2cm
2cm
D2
D1
Δr=1 mm
Ring from kaon
Ring from Pion
Set value of n2
Find D2 needed to achieve Δr=1 mm (peak to peak) at 10 GeV/c
D1=D2+20mm, then find n1, and r
Estimate , and . Pixel size set to 1x1 mm2. From Belle-2 ARICH, ~10 photons are detected per track with n1 and n2 equal 1.045 and 1.055 respectively. However, Number of photons decreases with smaller refractive indices.

## Slide 18: Summary
Uncertainty raised from emission point is minimized as a result of focusing lens
Expansion Volume can be adjusted  minimized , while ring size is manageable No, you cannot change expansion volume of a proximity focusing RICH. Expansion volume of proximity focusing RICH is specified based on refractive indices of radiators.
mRICH with 6” focal length and 1x1mm2 pixel size sensor could achieve 3σ separation at 10 GeV

## Slide 19
Back Up

## Slide 20: Resolution
Beta resolution of RICH detector
Cherenkov emission angle / angle measured
N number of photons on ring (±) per event
Smaller , higher resolution
T. Ypsilantis and J. Seguinot, Theory of Ring Imaging Cherenkov Counters, Nucl. Instr and Meth. In Phys. Res. A 343 (1994), 30.