## Slide 1: pfRICH pre-TDR Next Steps
Brian Page
October 31, 2024

## Slide 2
Tasks for pre-TDR Completion
Independent of reviewer comments, there are several points which we know need to be addressed to complete the pre-TDR:
  Finish the “Requirements from Data Rates” section
  Update the pfRICH performance plots and text
  Update the physics performance (e/h and pi/k/p) plots and text
  Finish supplemental material sections
We should have all information needed to complete the data rates section – Jeff please confirm this is the case
For the pfRICH and physics performance plots, we will need to update the standalone simulation and rerun samples
Need to think about how to run physics performance simulations. Official simulation LUTs will be out of date so we will have to use new LUTs from standalone simulation possibly with events from official simu
Supplemental material should include details on pfRICH performance, physics performance, aerogel and mirror test results, fabrication procedures, and test stand details

## Slide 3
Reviews
Reports from official reviewers and collaboration at large due on October 27
The pfRICH section has received comments from 4 reviewers
I have begun looking at comments and will contact individual experts as needed to address non-trivial points – address some items at this meeting
Comments have been collected in a google doc, please feel free to comment: https://docs.google.com/document/d/1IwFepCNJrn8e-i3fvn_b5f-HWiBl4iI2L9zPjb_y1zM/edit?usp=sharing

## Slide 4
“High-Level” Issues from Reviewers
Performance plots vs CAD drawings, diagrams, etc
  All plots will be available – but what goes in supplemental material vs main section
ToF Performance
  Simulations of ToF ability
Reduction of “Requirements from Physics” section
  Much of the information here was covered in the overall PID introduction
Aerogel and Mirror details
  Uniformity of reflectivity / refractive index
  Manufacture and performance on pyramidal mirrors
More sensor details
  Aging, SPE resolution, B-field tests etc
  Use LAPPD as a baseline if HRPPD studies are not yet available?

## Slide 5
Figure Archival (from official guidelines)
We agreed to archive the information necessary for reproducing the studies and associated figures included in the TDR. After evaluating various options, we selected a method that simplifies the procedure with minimal additional steps. For reproducing the detector and physics studies, we will use GitHub repositories, subject to the following requirements:
• These repositories must be accessible to all members of the collaboration.
• Each figure in the TDR must include a direct link to its corresponding GitHub repository in the figure caption.
• Repositories must contain all scripts that begin with the primary data source to fully reproduce studies and figures. At least one Readme or a similar document should be provided, documenting the necessary steps for reproducing the studies and figures. For studies based on the ePIC simulation productions or geometry implementations, the scripts must use the centrally accessible data and geometry releases. If ancillary data are required, and they are not already accessible remotely, this data must be included in the repository.
• This approach may not be suitable for CAD drawings, Finite Element Analysis (FEA) studies, and other technical files. In these instances, the GitHub entry should include a description and contact information.
Additionally, the information necessary for reproducing the studies and figures will be copied into a dedicated repository to ensure archiving is consistent with major versions of the TDR.