## Slide 1: Current Status of the CE Calibration Analysis using PDHD Pulser Data
Karla Téllez Girón Flores
Local BNL PD Meeting, 11/04/2024

## Slide 2
NP04 TPC Electronics Studies Runs.
Pulser Calibration Run 28286.
DAC = 30.
7.8 mV/fC LArASIC gain.
2 µs CE Shaping Time.
LArASIC Output Mode: Single-ended.
Dataset
Karla Tellez-Giron-Flores

## Slide 3
Karla Tellez-Giron-Flores
Current Status
Small tail in Fitted Gain distribution.

## Slide 4
Correlation observed after correction.
Where is this coming from?
Current Status
Karla Tellez-Giron-Flores

## Slide 5
Karla Tellez-Giron-Flores
NOW: Debugging
Looking at the uncertainties of the 7-parameter fitter
Pre-Fit seems fine...

## Slide 6
Karla Tellez-Giron-Flores
NOW: Debugging
Looking at the uncertainties of the 7-parameter fitter
…fit, not so much?
Vast majority at 0.6% and below.
Vast majority at 0.5% and below.

## Slide 7
Karla Tellez-Giron-Flores
NOW: Debugging
Looking at the uncertainties of the 7-parameter fitter
What is going on with these cases?
t (µs)

## Slide 8
Karla Tellez-Giron-Flores
NOW: Debugging
Looking at the uncertainties of the 7-parameter fitter
What is going on with these cases?
t (µs)

## Slide 9
Karla Tellez-Giron-Flores
Examples of Good Fits (decent uncertainty)
t (µs)
Notes: 1400mV corresponding to the maximum voltage that a 14-bit ADC can process.
79.5315 = injected charge = (14.33mV/bit)(30 DAC)(0.185 pF). 0.185 pF is the test capacitance and the 14.33 mV is the DAC-to-voltage conversion factor.
16384 = 14-bit ADC resolution (total number of ADC steps for a 14-bit ADC). PDHD has a 14-bit digitizer (2^14).

## Slide 10
Does the observed correlation come from a bad fitter?
  If not, where does it come from?
Other possible paths: k-value constraints, fit parameters based on pulse area?
If correlation persists, can we live with it?
Please, have a look at the fitter here: https://github.com/KARLATGF/PDHD-wf_fitter
Questions to answer…
Karla Tellez-Giron-Flores

## Slide 11: Backup Slides

## Slide 12
Karla Tellez-Giron-Flores
Run the full fitter on our dataset.
Extract fit parameters.
Run the waveform correction (Wire-Cell).
Fit corrected waveforms with Ideal Electronics Response Function.
Retrieve Amplitude and Shaping Time.
Convert Amplitude to Gain.
1400 mV is the maximum voltage in our voltage range.
79.5315 fC is the injected charge
  0.185 pF: test capacitance
  14.33 mV/bit : DAC-to-voltage conversion factor for our LArASIC gain setting.
  30 DAC: DAC setting.
16384 : 14-bit ADC resolution (214)
Waveform Correction
Notes: 1400mV corresponding to the maximum voltage that a 14-bit ADC can process.
79.5315 = injected charge = (14.33mV/bit)(30 DAC)(0.185 pF). 0.185 pF is the test capacitance and the 14.33 mV is the DAC-to-voltage conversion factor.
16384 = 14-bit ADC resolution (total number of ADC steps for a 14-bit ADC). PDHD has a 14-bit digitizer (2^14).