EIC-Project meets ePIC DSCs: fECal

November 15, 2024

- SiPM board

Model is well defined (by Oleg, Gerard et al), and it should be implemented in CAD

-> Josh will start working on it

-> Josh requests a follow-up meeting next week (include Oleg, Gerard, Dan, Rahul)

- Glue

Used to flue SiPM board to LG, and then connectors to SiPM boards.

Is glue strong enough? – Oleg: yes, too strong

If SiPM board fail, can it be dis-assembled without breaking anything (e.g. LG)?

Any alternatives to glue? – Need an optical contact to LG

-> Gerard et al will study it in the next a few weeks

- Cooling

Cu tubing. Any requirements for cooling water? – Looks no.

Now much mass the Cu tubing adds to the system? – Needs to be implemented and verified in CAD.

Cooling system as a whole (number of chillers, etc) need to be further developed and optimized without compromising the level of required cooling of different elements.

Any specs for cooling system performance (e.g. T difference between different parts/elements)?

- Module stacking

Is the designed 1/4mm between modules enough tolerance for module stacking? Is it achievable?

-> Dan will check it by the mid of Dec.

- Cooling&Cabling

They are inside the box (8cm). Need to double check the envelope is consistent with CAD implementation (now 19+8cm); Oleg: the module itself is 17cm of W/SciFi + a few mm backplate (so, 19cm looks safe enough)

-> Dan will double-check it

All cables are suggested to get out at 3 and 9 o’clock – may be a challenge for fECal design (want more exit points).

-> Let Roland route the cables&pipes, and then call another meeting to discuss these.

Let Roland know if there are any changes relative to design/geometry summarized in epic interface document (link given by Roland)

Dan: with cable penetration, is the system light closed? – Oleg: we have a simple solution

Elke: Everything should get in CAD model!