## Slide 1
VTRX+ Routing Options:
VTRX+
If up to 2 m
MT
If longer than to 2 m
Coupler
A)
B)
C-1)
Feedthrough/Disconnect Panel
C-2)
Rigid support/PCB.
Specify any length
Min ~ 30 mm
R
FEB
Fiber Bend Radius R > 15 mm
VTRX+ Min L ~ 10 cm
Specify any length
Min ~ 20 mm
Preferred

## Slide 2
VTRX+ Length Options:
Choose Total Length (cm)
5.5
7.7
10
12
15
20
21.5
25
30
32.5
35
40
49
50
65
84
100
200
Total Length is the length of the fiber pigtail plus the length of the VTRX+ PCB (2 cm) and the length of the MT fiber connector (1 cm): L = fiber length + 3 cm.
Sub-Detector | Qty | Total Length (cm)
SVT | 2000 | 
dRICH | 1500 | 
MPGDs | 1000 | 
TOFs | 400 | 
pfRICH | 136 | 
RP | 128 | 
OMD | 72 | 
B0 Tracker | 168 | 
Lumi-PS | 72 | 
various | 24 | 
Sub-Detector | Qty | Total Length (cm)
SVT | 1579 | 
MPGD EE | 64 | 
MPGD HE | 64 | 
MPGD IB | 128 | 
MPGD uRwell | 384 | 
TOF Disk | 212 | 
TOF Barrel | 288 | 
dRICH | 1242 | 
pfRICH | 68 | 
Electron side Sub-Detector | Qty | Total Length (cm)
SVT | 790 | 
MPGD EE | 64 | 
MPGD IB | 64 | 
TOF Barrel | 144 | 
pfRICH | 68 | 
Hadron side Sub-Detector | Qty | Total Length (cm)
SVT | 790 | 
MPGD HE | 64 | 
MPGD IB | 64 | 
MPGD uRwell | 384 | 
TOF Disk | 212 | 
TOF Barrel | 144 | 
LLP Order (5500):
Needed:
Extra cost due to “sacrificial” fiber needed.