## Slide 1
Services to PHENIX IR
From Building 1008B
Paul Giannotti
12/7/2016

## Slide 2
Top of Tunnel
Sector 7
N
Area of Detail
Services to IR from Building 1008B
(slide 1)
P. Giannotti 12/7/16

## Slide 3
Services to IR from Building 1008B
(slide 2)
View Looking North
IR Exhaust Fan
IR Ceiling
South West
Corner
1008B
Helium to Sector 7
IR
LCVS
Exhaust
Fan
Stack
Helium to Sector 9
Shield
Blocks
P. Giannotti 12/7/16

## Slide 4
Services to IR from Building 1008B
(slide 3)
P. Giannotti 12/7/16

## Slide 5
Services to IR from Building 1008B
(slide 4)
P. Giannotti 12/7/16

## Slide 6
Services to IR from Building 1008B
(slide 5)
P. Giannotti 12/7/16
18 FT.
Water
Cooled
Bus
40 inches

## Slide 7
Services to IR from Building 1008B
(slide 6)
P. Giannotti 12/7/16
Water Cooled Bus = 18 FT.
out from wall
Water Cooled Bus Pipes
Electronic Cooling Water Supply
Magnet Cooling Water Return
Magnet Cooling Water Supply
Electronic Cooling Water Return

## Slide 8
Services to IR from Building 1008B
(slide 7)
P. Giannotti 12/7/16
Electronic Cooling Water Supply
Magnet Cooling Water Return
Magnet Cooling Water Supply
Electronic Cooling Water Return
Magnet Signal & Control Cables
12’’ Tray
Water Cooled Bus Pipes
IR
LCVS
Exhaust
Fan
Stack
24’ End to End
15’ End to End
Shield Blocks

## Slide 9
Services to IR from Building 1008B
Shield Block Face
(slide 8)
P. Giannotti 12/7/16

## Slide 10
Services to IR from Building 1008B
Under Shield Block View 1
(slide 9)
P. Giannotti 12/7/16

## Slide 11
Services to IR from Building 1008B
Under Shield Block View 2
(slide 10)
P. Giannotti 12/7/16

## Slide 12
Services Opening IR Side
View 1
(slide 11)
Water Cooled
Bus
ECW Supply
ECW Return
MCW Supply
MCW Return
6.5 FT.
3 FT.
P. Giannotti 12/7/16

## Slide 13
Services Opening IR Side
View 2
(slide 12)
P. Giannotti 12/7/16
Coolant, Power,
& Signal Service
to south side HVAV
Air Handlers
ECW Supply

## Slide 14
IR West Wall Vertical Runs
View 1
(Slide 13)
P. Giannotti 12/7/16

## Slide 15
IR West Wall Vertical Runs
View 2
(Slide 14)
P. Giannotti 12/7/16
Valve Box Plus & Minus
Height from IR Floor
Level
32 FT.

## Slide 16
IR West Wall Vertical Runs
View 3
(Slide 15)
47 FT.
From Floor
To Ceiling
P. Giannotti 12/7/16

## Slide 17
VB Power Leads
Height from Floor
= 32’
8 FT. = Data Taking
3 FT. = Service
Distance from South
Steel Wall
IR West Wall Vertical Runs
View 3
(Slide 16)
P. Giannotti 12/7/16

## Slide 18
Valve Box Plus & Minus
Height from IR Floor
Level
32 FT.
8 FT. = Data Taking
3 FT. = Service
Distance from South
Steel Wall
IR West Wall Vertical Runs
View 3 (slide 17)
P. Giannotti 12/7/16

## Slide 19
IR West Wall Vertical Runs
View 3 (slide 18)
P. Giannotti 12/7/16
32 Ft. Line
From Concrete Floor

## Slide 20
Helium Feed Idea View 1
(slide 19)
P. Giannotti 12/7/16

## Slide 21
Helium Feed Idea View 2
(slide 20)
P. Giannotti 12/7/16

## Slide 22
Helium Feed Idea View 3
(slide 21)
P. Giannotti 12/7/16

## Slide 23
Helium Feed Idea View 4
(slide 22)
P. Giannotti 12/7/16

## Slide 24
P. Giannotti 12/7/16
Helium Feed Idea View 5
(slide 23)