## Slide 1: Preinjector Status
April 08, 2025
D. Raparia
Time Meeting

## Slide 2: Tandem
Tandem delivering Au+34 beam RHIC setup.
MP6: repair work over weekend charging system did not resolve the issue, diagnosis work continues
Tandem Control Room staffed 6:00 – 24:00 for NSRL.
Will go back to 24/7 operation when needed for RHIC setup

## Slide 3: EBIS
LION2: system debugging continue
Collector Power Supply Issue (MCM350, 30kV):
• On Friday, a breakdown found in the 30kV cable for the MCM350 Collector Power Supply.
• Yesterday morning, the breakdown location was identified at the isolation transformer end of the cable.
• The semiconducting layer of the cable needs to be stripped back to resolve the issue.
• An estimated three-week schedule delay.

## Slide 4
Breakdown at semiconductor layer
Semiconducting layer of cable stripped

## Slide 5
EBIS Schedule

## Slide 6: Linac
The 200 MeV, 150 µA run was successfully completed on Friday.
• OPPIS is providing PP to 200 MeV Polarimeter and Booster
• Dy foil irradiation has been postponed to 4/9, pending approval.

## Slide 7
Chart: Integrated Current Comparison
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200 | 201 | 202 | 203 | 204 | 205 | 206 | 207 | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223 | 224 | 225 | 226 | 227 | 228 | 229 | 230
FY 2021 | 351.0169 | 1264.0018 | 4194.4484 | 7625.9229 | 7639.4394 | 10684.5563 | 13552.2975 | 16533.5408 | 17844.1378 | 20956.4462 | 24241.1907 | 27742.6889 | 31334.3905 | 34974.1698 | 37161.6071 | 40697.4878 | 42811.3735 | 43833 | 44420.4 | 46528.1282 | 50133.3278 | 53507.2101 | 57341.2825 | 61223.5901 | 63688.69 | 65312.9049 | 66169.7604 | 66997.9541 | 69866.085 | 72792.611 | 75766.2877 | 76764.8871 | 78727.1649 | 82641.3179 | 86600.6839 | 90483.5715 | 94458.5091 | 97920.9523 | 101392.6786 | 105159.6009 | 109111.7554 | 113062.0367 | 116430.877 | 120221.4262 | 121963.6441 | 121965.8631 | 121965.8631 | 123813.8742 | 126698.757 | 129619.5175 | 132549.2453 | 135161.9025 | 136268.9071
FY 2025 | 3896.1805 | 6971.4091 | 10612.5827 | 14266.6664 | 17931.9142 | 21571.7344 | 25214.1128 | 28838.4298 | 32483.2509 | 33737.5601 | 35598.1665 | 39108.2363 | 41479.2269 | 41479.2269 | 41479.227 | 41479.227 | 41479.2271 | 41479.2271 | 41479.2272 | 41479.2273 | 41485.8027 | 41514.5637 | 41514.5638 | 41514.5638 | 41514.5639 | 43441.0471 | 46615.2383 | 50218.6171 | 53751.06 | 55019.0403 | 55019.6502 | 55019.6502 | 56680.6348 | 60301.231 | 63686.1749 | 67282.6474 | 70158.9306 | 73339.6873 | 76957.9981 | 79702.2151 | 82151.0096 | 85756.0949 | 89376.6029 | 90269.457