## Slide 1
Data courtesy C. Naylor
Chart: C-AD ACTIVITY JUNE 2025
| FY25-week 36: | FY25-week 37: | FY25-week 38: | FY25-week 39:
Physics | 0 | 51.73 | 100.12 | 0
Machine Development | 0 | 2.52 | 3.45 | 0
Beam Studies | 0 | 0 | 0 | 0
Experimental setup | 19.97 | 2.7 | 0.42 | 0
Setup | 48.97 | 17.98 | 25.03 | 0
Scheduled Maintenance | 63.27 | 64.9 | 0 | 0
Scheduled Shutdown | 0 | 0 | 0 | 0
Unscheduled shutdown | 0 | 0 | 0 | 0
Machine failures | 35.79 | 28.17 | 38.98 | 0

## Slide 2
Chart: C-AD ACTIVITY MARCH 2025
| FY25-week 22: | FY25-week 23: | FY25-week 24: | FY25-week 25: | FY25-week 26:
Physics | 0 | 0 | 0 | 0 | 0
Machine Development | 0 | 0 | 0 | 0 | 0
Beam Studies | 0 | 0 | 0 | 0 | 0
Experimental setup | 0 | 0 | 0 | 0 | 0
Setup | 0 | 0 | 0 | 0 | 8.17
Scheduled Maintenance | 0 | 0 | 0 | 0 | 24
Scheduled Shutdown | 168 | 167 | 168 | 168 | 41.15
Unscheduled shutdown | 0 | 0 | 0 | 0 | 0
Machine failures | 0 | 0 | 0 | 0 | 94.68

## Slide 3
Chart: C-AD ACTIVITY April 2025
| FY25-week 27: | FY25-week 28: | FY25-week 29: | FY25-week 30:
Physics | 0 | 0 | 0 | 0
Machine Development | 0 | 0 | 0 | 0
Beam Studies | 0 | 0 | 0 | 0
Experimenter Setup | 0 | 0 | 0 | 0
Machine Setup | 0 | 0 | 0 | 0
Scheduled Maintenance | 168 | 168 | 168 | 168
Scheduled Shutdown | 0 | 0 | 0 | 0
Unscheduled Shutdown | 0 | 0 | 0 | 0
Machine Failures | 0 | 0 | 0 | 0
Data courtesy C. Naylor

## Slide 4
Data courtesy C. Naylor
Chart: C-AD ACTIVITY MAY 2025
| FY25-week 31: | FY25-week 32: | FY25-week 33: | FY25-week 34: | FY25-week 35:
Physics | 0 | 0 | 0 | 0 | 0
Machine Development | 0 | 0 | 0 | 0 | 0
Beam Studies | 0 | 0 | 0 | 0 | 0
Experimental setup | 0 | 0 | 0 | 0 | 1.22
Setup | 0 | 0 | 0 | 0 | 31.97
Scheduled Maintenance | 168 | 168 | 168 | 168 | 134.52
Scheduled Shutdown | 0 | 0 | 0 | 0 | 0
Unscheduled shutdown | 0 | 0 | 0 | 0 | 0
Machine failures | 0 | 0 | 0 | 0 | 0.3

## Slide 5
Data courtesy C. Naylor
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- MARCH 2025
| 02/25/25/2 to 03/04/25/1 | 03/04/25/2 to 03/11/25/1 | 03/11/25/2 to 03/18/25/1 | 03/18/25/2 to 03/25/25/1 | 03/25/25/2 to 04/01/25/1
PPS_AGS | 0.32154
RfBooster | 0.21877
ESHQ | 0.089256
PPS_Booster | 0.003403
PS_RHIC | 0.28128
sum<1hr | 0.0063199

## Slide 6
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- April 2025
| 04/01/25/2 to 04/08/25/1 | 04/08/25/2 to 04/15/25/1 | 04/15/25/2 to 04/22/25/1 | 04/22/25/2 to 04/29/25/1
.
.
.
.
.
.
.
.
.
.
.
.
Data courtesy C. Naylor

## Slide 7
Data courtesy C. Naylor
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- MAY 2025
| 04/29/25/2 to 05/06/25/1 | 05/06/25/2 to 05/13/25/1 | 05/13/25/2 to 05/20/254/1 | 05/20/25/2 to 05/27/25/1 | 05/27/25/2 to 06/03/25/1
.
.
.
.
.
.
.
.
.
.
.
.

## Slide 8
Data courtesy C. Naylor
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM - JUNE 2025
| 06/03/25/2 to 06/10/25/1 | 06/10/25/2 to 06/17/25/1 | 06/17/25/2 to 06/24/25/1
PS_RHIC | 0.049517 | 0.021845 | 0.0082484
PS_Bstr/BtA/LtB | 0.0078227 | 0.026608
PPS_Booster | 0.003938
CntrlsHdRHIC | 0.0057207 | 0.0077961
FoilChange | 0.0046564
RfRHIC | 0.020621 | 0.0047628
WaterRhicRf | 0.036772
CoolACRHIC | 0.010111
PPS_RHIC | 0.017641
CntrlsSftwr | 0.0026608
CryoRHIC | 0.0044701
InstRHIC | 0.005428

## Slide 9: Operations for BLIP
No BLIP
this past week
6/17-24/2025:
200 MeV production continued all week.
156.2 hr production
11.8 hr failures
Availability: 93.0%
note current transformer issues affecting logged data
Notes: BLIP plot from LogView /MCR/PerformanceStats/timeMeetingBLIP.lvdisp
Avail calc on nsrl time Excel sheet

## Slide 10: NSRL activity past week: 6/17-24/2025 (as of 0800)
Availability: 92.6%
NSRL running continues. NASA biology in GCR mode, with other user time and beam development.
No Tandem ions; Linac protons, 11 EBIS ions (He, C, Ne, O, Si, Ar, Ti, Fe, Tb, Ta, Bi) delivered to NSRL.
Running 25-A schedule; Run concludes 27 June.
Run 25-C follows on 30 June; 25-C schedule posted through 1 October.
Chart: NSRL Hours
| Experimental Setup | Failure | Machine Development | Machine Setup | Operator Training | Scheduled Maintenance | Scheduled Shutdown | Science
NSRL Hours | 0 | 4.9 | 6.48 | 23.03 | 0 | 0 | 101.77 | 31.82
Notes: Graph and avail calc from nsrl time.xlsx

## Slide 11: Notes from Operations
Notable failures (>1 hr)
Beam abort, yi7-sxd2-ps trip
Booster MMPS failure, trench opened for magnet bus insulator repair
RHIC RF Cooling Tower failure, fan repaired
Beam abort, 56MHz MPS trip; water flow faults reset
Yellow injection kicker PS failure (4x); output remains below normal
Blue orbit feedback system failure, Controls bucket selector misconfigured
Blue collimator drive failure, v0 motors exercised
STAR magnet PS trip, required half-field due to cooling limits
RHIC Controls failure, 6b-ps1 fanout failure, replaced hardware
Linac RF Mod 7 failure, diode stack/resistor replaced
Linac Mod 9 failure, retuned for arcing in 7835 tube
Linac RF Mod 7 failure, crowbar circuit required power cycles to FECs
BLIP interlock, NMON+permit+BM1&2 trip; reset
Linac Mod2 trips (6x)
EBIS collector PS trips (14x)
RHIC beam aborts (13x); various injection/ramp issues, intensity, tuning…
Other notes
1 lightning stand down; rain and heat affecting in plenty of other ways…
AGS G09C BLW PS remote control total loss, ongoing
ACS 1012 remote keytree remains inoperable, awaiting maintenance day
AGS E17 gamma-t PS failure (2x); bus contacts, GTO repaired
Various Linac trips, resets
BLIP current transformer failure, rewired/recalibrated to share working transformer
Various injector PS trips, resets, tuning
Various Tandem tuning, access, foil changes
Over 11 hours injector pp setup, Operator training, other Au setup (when injector systems are available)
Notes: NSRL plot from LogView /MCR/PerformanceStats/timeMeetingNSRL.lvdisp, select Dose Rate and ion species in use
Screenshot of AlarmSummary

## Slide 12: Reminder from Operations
MCR beam operations continue
  RHIC physics running continues with more system startups, beam tuning, luminosity ramp-up
    Tandem remains sole provider of Au31 for RHIC
  Operator/OC shifts continue for NSRL biology, 1-2 shifts/5 days this week and next.
    No ions from Tandem; Linac protons as required through 27 June; Ion beams from EBIS.
  BLIP production ends 27 June. Additional short runs follow end of 200MeV production on Friday
  AGS Polarized proton setup, other studies to continue behind stores as time allows.
  MCR on duty 24/7.
Changes? Time to update is now. Expect calls at all hours.
  Alarm response instructions: Groups prompted for updates
  http://directory.pbn.bnl.gov/
    CHECK AND EDIT YOUR OWN CONTACT INFO
  https://www.cadops.bnl.gov/Operations/personnel/call_in_lists/
    CHECK YOUR CALLIN LIST: expect contact off-hours

## Slide 13: Keytree notes
Remote keytree systems require a database lookup to validate and authorize distribution of keytokens. The Keytrak system’s database is available for lookup functionality, but can no longer be modified in any way to add or edit qualified personnel.
Personnel affected:
New employees, experimenters arriving after 12/1/2024 could not be enrolled in database
Existing employees & experimenters, not already enrolled, cannot be added or modified in database
Remote keytrees affected:
Iris scan @NSRL
BNLID scan @AGS South gate, North Conjunction Gate
Iris scan @RHIC STAR, sPHENIX, IP12, IP4
Keytrees NOT affected:
BNLID scan @Linac, Booster
BNLID scan @RHIC IP2
MCR keytrees

## Slide 14: Keytree notes, continued
Mitigation:
Choose entrants that are currently enrolled to perform the work in the enclosure under Controlled Access (CA).
Obtain CA keys from MCR for remote gate watch
Arrange for local gate watch using other tokens for entrants.
Arrange for Restricted Access, and allow for delays incurred to sweep areas.
CAUTION
Follow procedures. Gate Watch staff will remain vigilant.
  No “piggy-backing” – one key/token per entrant.
  Access keys are not candy! Authenticated entrant retains possession.
Radiological Controls and the Access Controls System are not to be circumvented. This is (has been) enforced with disciplinary action (dismissal).

## Slide 15
Chart: Availability: RHIC Run-25
| week 25 | week 26 | week 27 | week 28 | week 29 | week 30 | week 31 | week 32 | week 33 | week 34 | week 35 | week 36 | week 37 | week 38 | week 39
Availability | 0 | 0.079436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.98845 | 0.65826 | 0.72677 | 0.76798 | 0
Average | 1 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.26269 | 0.44008 | 0.52788 | 0.60781 | 0.60781
Goal | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8

## Slide 16
Chart: Mean Time Between Failure, Mean Time To Repair, Average Failure Hours per Day (cryo start to cryo end date)
| MTBF | MTTR | Failure hr/day
Run7 | 5.3 | 2 | 6.3
Run8 | 6.3 | 1.2 | 3.8
Run9 | 5.5 | 1.3 | 4.42
Run10 | 5.5 | 1 | 3.8
Run11 | 5.7 | 1.2 | 4.5
Run12 | 6.9 | 1.1 | 3
Run13 | 6.6 | 1.2 | 3.5
Run14 | 8.6 | 1.3 | 3
Run15 | 8.1 | 1.1 | 3.1
Run16 | 6.4 | 1.2 | 3.6
Run17 | 6.8 | 1.2 | 3.7
Run18 | 9.3 | 0.9 | 2.1
Notes: Reliability comparisons to previous runs

## Slide 17: Availability, expected beam hours
Notes: Normally hidden. Explains how the 85% from DOE comes in to play, & general availability metrics