## Slide 1
Data courtesy C. Naylor
Chart: C-AD ACTIVITY July 2025
| FY25-week 40: | FY25-week 41: | FY25-week 42: | FY25-week 43:
Physics | 94.82 | 96.75 | 105.75 | 113.3
Machine Development | 8.62 | 5.52 | 0 | 0
Beam Studies | 0 | 7.62 | 0 | 8.15
Experimenter Setup | 0.8 | 0.08 | 0 | 0.23
Machine Setup | 18.58 | 18.57 | 22.9 | 18.42
Scheduled Maintenance | 11.5 | 2.33 | 8 | 0
Scheduled Shutdown | 0 | 0 | 0 | 0
Unscheduled Shutdown | 0 | 0 | 0 | 0
Machine Failures | 33.68 | 37.13 | 31.35 | 27.9

## Slide 2
Data courtesy C. Naylor
Chart: C-AD ACTIVITY AUGUST 2025
| FY25-week 44: | FY25-week 45: | FY25-week 46: | FY25-week 47: | FY25-week 48:
Physics | 109.68 | 122.68 | 0 | 0 | 0
Machine Development | 0 | 0 | 0 | 0 | 0
Beam Studies | 0 | 13.93 | 0 | 0 | 0
Experimental setup | 0 | 0.48 | 0 | 0 | 0
Setup | 19.07 | 17.67 | 0 | 0 | 0
Scheduled Maintenance | 10.72 | 0 | 0 | 0 | 0
Scheduled Shutdown | 0 | 0 | 0 | 0 | 0
Unscheduled shutdown | 0 | 0 | 0 | 0 | 0
Machine failures | 28.53 | 13.24 | 0 | 0 | 0

## Slide 3
Data courtesy C. Naylor
Chart: C-AD ACTIVITY JUNE 2025
| FY25-week 36: | FY25-week 37: | FY25-week 38: | FY25-week 39:
Physics | 0 | 51.73 | 100.12 | 91.68
Machine Development | 0 | 2.52 | 3.45 | 0
Beam Studies | 0 | 0 | 0 | 11.02
Experimental setup | 19.97 | 2.7 | 0.42 | 0.1
Setup | 48.97 | 17.98 | 25.03 | 19.62
Scheduled Maintenance | 63.27 | 64.9 | 0 | 0
Scheduled Shutdown | 0 | 0 | 0 | 0
Unscheduled shutdown | 0 | 0 | 0 | 0
Machine failures | 35.79 | 28.17 | 38.98 | 45.58

## Slide 4
Chart: C-AD ACTIVITY MARCH 2025
| FY25-week 22: | FY25-week 23: | FY25-week 24: | FY25-week 25: | FY25-week 26:
Physics | 0 | 0 | 0 | 0 | 0
Machine Development | 0 | 0 | 0 | 0 | 0
Beam Studies | 0 | 0 | 0 | 0 | 0
Experimental setup | 0 | 0 | 0 | 0 | 0
Setup | 0 | 0 | 0 | 0 | 8.17
Scheduled Maintenance | 0 | 0 | 0 | 0 | 24
Scheduled Shutdown | 168 | 167 | 168 | 168 | 41.15
Unscheduled shutdown | 0 | 0 | 0 | 0 | 0
Machine failures | 0 | 0 | 0 | 0 | 94.68

## Slide 5
Chart: C-AD ACTIVITY April 2025
| FY25-week 27: | FY25-week 28: | FY25-week 29: | FY25-week 30:
Physics | 0 | 0 | 0 | 0
Machine Development | 0 | 0 | 0 | 0
Beam Studies | 0 | 0 | 0 | 0
Experimenter Setup | 0 | 0 | 0 | 0
Machine Setup | 0 | 0 | 0 | 0
Scheduled Maintenance | 168 | 168 | 168 | 168
Scheduled Shutdown | 0 | 0 | 0 | 0
Unscheduled Shutdown | 0 | 0 | 0 | 0
Machine Failures | 0 | 0 | 0 | 0
Data courtesy C. Naylor

## Slide 6
Data courtesy C. Naylor
Chart: C-AD ACTIVITY MAY 2025
| FY25-week 31: | FY25-week 32: | FY25-week 33: | FY25-week 34: | FY25-week 35:
Physics | 0 | 0 | 0 | 0 | 0
Machine Development | 0 | 0 | 0 | 0 | 0
Beam Studies | 0 | 0 | 0 | 0 | 0
Experimental setup | 0 | 0 | 0 | 0 | 1.22
Setup | 0 | 0 | 0 | 0 | 31.97
Scheduled Maintenance | 168 | 168 | 168 | 168 | 134.52
Scheduled Shutdown | 0 | 0 | 0 | 0 | 0
Unscheduled shutdown | 0 | 0 | 0 | 0 | 0
Machine failures | 0 | 0 | 0 | 0 | 0.3

## Slide 7
Data courtesy C. Naylor
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- MARCH 2025
| 02/25/25/2 to 03/04/25/1 | 03/04/25/2 to 03/11/25/1 | 03/11/25/2 to 03/18/25/1 | 03/18/25/2 to 03/25/25/1 | 03/25/25/2 to 04/01/25/1
PPS_AGS | 0.32154
RfBooster | 0.21877
ESHQ | 0.089256
PPS_Booster | 0.003403
PS_RHIC | 0.28128
sum<1hr | 0.0063199

## Slide 8
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- April 2025
| 04/01/25/2 to 04/08/25/1 | 04/08/25/2 to 04/15/25/1 | 04/15/25/2 to 04/22/25/1 | 04/22/25/2 to 04/29/25/1
.
.
.
.
.
.
.
.
.
.
.
.
Data courtesy C. Naylor

## Slide 9
Data courtesy C. Naylor
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- MAY 2025
| 04/29/25/2 to 05/06/25/1 | 05/06/25/2 to 05/13/25/1 | 05/13/25/2 to 05/20/254/1 | 05/20/25/2 to 05/27/25/1 | 05/27/25/2 to 06/03/25/1
.
.
.
.
.
.
.
.
.
.
.
.

## Slide 10
Data courtesy C. Naylor
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM - JUNE 2025
| 06/03/25/2 to 06/10/25/1 | 06/10/25/2 to 06/17/25/1 | 06/17/25/2 to 06/24/25/1 | 06/24/25/2 to 07/01/25/1
PS_RHIC | 0.03422 | 0.015097 | 0.0057003 | 0.023243
PS_Bstr/BtA/LtB | 0.0054061 | 0.015814
PPS_Booster | 0.0027214
CntrlsHdRHIC | 0.0039534 | 0.0053877
FoilChange | 0.0032179
RfRHIC | 0.014251 | 0.0032915 | 0.005498
WaterRhicRf | 0.025412
CoolACRHIC | 0.0069875
PPS_RHIC | 0.014766
CntrlsSftwr | 0.0018388
CryoRHIC | 0.0030892
InstRHIC | 0.0037512 | 0.0030156

## Slide 11
Data courtesy C. Naylor
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- July 2025
| 07/01/25/2 to 07/08/25/1 | 07/08/25/2 to 07/15/25/1 | 07/15/25/2 to 07/22/25/1 | 07/22/25/2 to 07/29/25/1
PS_RHIC | 0.017319 | 0.0098897 | 0.010243 | 0.0041066
RfRHIC | 0.0038913 | 0.0060446 | 0.0016919
ES&FD_Exp | 0.016211 | 0.0037529
QuenchProtect | 0.0076595
PPS_RHIC | 0.0046603
InstRHIC | 0.0023532
RfAGS | 0.0019841 | 0.0032145 | 0.0023994
ElecRHIC | 0.0027685 | 0.0058908
ACG_RHIC | 0.0028916 | 0.0028916
HumanError | 0.0040297
RadMonIntlk | 0.0031992 | 0.0015842
Weather | 0.014289

## Slide 12
Data courtesy C. Naylor
Chart: INTEGRATED FAILURES (GREATER THAN ONE HOUR) BY SYSTEM -- AUGUST 2025
| 07/29/25/2 to 08/05/25/1 | 08/05/25/2 to 08/12/25/1 | 08/12/25/2 to 08/19/25/1 | 08/19/25/2 to 08/26/25/1 | 08/26/25/2 to 09/02/25/1
PS_RHIC | 0.021182
PPS_RHIC | 0.018938
FoilChange | 0.0038736
TndmSource | 0.0075935
VacRHIC | 0.0065175
RfRHIC | 0.0059948 | 0.02152
Weather | 0.0035969
InstRHIC | 0.004181 | 0.0043962
ElecRHIC (PowerDip) | 0.009684
sum failures<1hr | 0.0061485 | 0.014787

## Slide 13: Operations for BLIP
No BLIP
this past week
BLIP remains in shutdown.
Linac off since 8 July.
Notes: BLIP plot from LogView /MCR/PerformanceStats/timeMeetingBLIP.lvdisp
Avail calc on nsrl time Excel sheet

## Slide 14: NSRL activity past week: 8/5-12/2025 (as of 0800)
Availability: 81.2%
NSRL running continues. Various user time and beam development continuing.
6 species (O, Si, Fe, Tb, Ta, Bi) logged to NSRL; H in Booster.
Run 25-C began 30 June; 25-C schedule posted, updates forthcoming through 1 November.
Chart: NSRL Hours
| Experimental Setup | Failure | Machine Development | Machine Setup | Operator Training | Scheduled Maintenance | Scheduled Shutdown | Science
NSRL Hours | 0 | 12.8 | 13.05 | 8.02 | 1.5 | 0 | 99.93 | 32.7
Notes: Graph and avail calc from nsrl time.xlsx

## Slide 15: Notes from Operations
Notable failures (>1 hr)
NSRL air compressor trip, misused valve, and subsequent investigation of ACS reachbacks
RF access, storage cavity repairs (2x)
Booster C7 inj kicker PS failure, resistor replaced
Booster D1 inj kicker PS failure (3x), resistor replaced
G10 kicker PS failure forcing single-bunch fills; trigger board replaced
Booster D6 septum PS repairs for heat load issues
EBIS LEBT solenoid PS failure, undiagnosed
EBIS RFQ fault, reset
Other notes
Yellow QLI, beam induced by debunched beam
Lead flow interlock, Cryo input card replaced
Vacuum interlock, 24V PS replaced
BPM abort (3x), likely 9A alcove radiation upset
NQBPS abort, mild power fluctuations
Other various trips, resets, tuning, foil changes
additional injector beam for Au setup, Operator training (when injector systems are available)
qfg.ak08-tv-ps:ioErrorM | 72525
ulrClkDsk.2a-bbbdamp.b:lockStatusAlarmM | 42791
lhn-d182-ps.watch:alarmM | 34523
permit.958-vme.A:upstreamFailedM | 28750
eba-cp-03:tempM | 26893
ebs-dt6-ps:ioErrorM | 18665
eba-cp-01:tempM | 14514
QP02-R01B04-bi1-sxf1-qp:statusM | 13537
gpm.lrm.21_hebt7-avg:dataM | 11979
gpm.lrm.20_hebt6-avg:dataM | 11109
nmr20Gaussmeter:lockStatusAlarmM | 10632
es3-ion.probe.src-ps:ioErrorM | 9464
qfg.ae18-th-ps:ioErrorM | 9197
power.uq2:trackingM | 6478
rbpm.yo8-bv5:bpmStatusM | 6193
ebs-dt12-ps:ioErrorM | 5930
gpm.B_DipoleDcctDiffAtStore:dataM | 5271
Alarm Statistics | FY 2025
Total control points in database | 2,701,735
Total alarm DB entries | 1,739,886
Total alarms set as new | 873,561
Total distinct parameters which alarmed | 16,951
Total operator actions on alarms | 14,306
Notes: NSRL plot from LogView /MCR/PerformanceStats/timeMeetingNSRL.lvdisp, select Dose Rate and ion species in use
Screenshot of AlarmSummary

## Slide 16: Reminder from Operations
MCR beam operations continue
  RHIC physics running continues
    Tandem remains sole provider of Au31 for RHIC
      Transiting MP7->MP6->MP7 for foil maintenance.
  Operator/OC shifts continue for MD of light ions and users, 6-7 days/1-2 shifts this week and next.
    Au31 from Tandem for higher intensity; no proton beams until November; Ion beams from EBIS.
  AGS tuning, other studies to continue behind stores as time allows.
  MCR on duty 24/7.
Changes? Time to update is now. Expect calls at all hours.
  Alarm response instructions: need updates
  http://directory.pbn.bnl.gov/ CHECK AND EDIT YOUR OWN CONTACT INFO
  https://www.cadops.bnl.gov/Operations/personnel/call_in_lists/
    CHECK YOUR CALLIN LIST: expect contact off-hours
    Summer is vacation time! Make sure your list is accurate

## Slide 17: Keytree notes
Remote keytree systems require a database lookup to validate and authorize distribution of keytokens. The Keytrak system’s database is available for lookup functionality, but can no longer be modified in any way to add or edit qualified personnel.
Personnel affected:
New employees, experimenters arriving after 12/1/2024 could not be enrolled in database
Existing employees & experimenters, not already enrolled, cannot be added or modified in database
Remote keytrees affected:
Iris scan @NSRL
BNLID scan @AGS South gate, North Conjunction Gate
Iris scan @RHIC STAR, sPHENIX, IP12, IP4
Keytrees NOT affected:
BNLID scan @Linac, Booster
BNLID scan @RHIC IP2
MCR keytrees

## Slide 18: Keytree notes, continued
Mitigation:
Choose entrants that are currently enrolled to perform the work in the enclosure under Controlled Access (CA).
Obtain CA keys from MCR for remote gate watch
Arrange for local gate watch using other tokens for entrants.
Arrange for Restricted Access, and allow for delays incurred to sweep areas.
CAUTION
Follow procedures. Gate Watch staff will remain vigilant.
  No “piggy-backing” – one key/token per entrant.
  Access keys are not candy! Authenticated entrant retains possession.
Radiological Controls and the Access Controls System are not to be circumvented. This is (has been) enforced with disciplinary action (dismissal).

## Slide 19
Chart: Availability: RHIC Run-25
| week 25 | week 26 | week 27 | week 28 | week 29 | week 30 | week 31 | week 32 | week 33 | week 34 | week 35 | week 36 | week 37 | week 38 | week 39 | week 40 | week 41 | week 42 | week 43 | week 44 | week 45 | week 46
Availability | 0 | 0.079436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.98845 | 0.65826 | 0.72677 | 0.76798 | 0.72869 | 0.78479 | 0.77588 | 0.80406 | 0.83393 | 0.8186 | 0.92119 | 0
Average | 1 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.079436 | 0.26269 | 0.44008 | 0.52788 | 0.60781 | 0.638 | 0.75796 | 0.76087 | 0.76673 | 0.77511 | 0.77966 | 0.79388 | 0.79388
Goal | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8

## Slide 20
Chart: Mean Time Between Failure, Mean Time To Repair, Average Failure Hours per Day (cryo start to cryo end date)
| MTBF | MTTR | Failure hr/day
Run7 | 5.3 | 2 | 6.3
Run8 | 6.3 | 1.2 | 3.8
Run9 | 5.5 | 1.3 | 4.42
Run10 | 5.5 | 1 | 3.8
Run11 | 5.7 | 1.2 | 4.5
Run12 | 6.9 | 1.1 | 3
Run13 | 6.6 | 1.2 | 3.5
Run14 | 8.6 | 1.3 | 3
Run15 | 8.1 | 1.1 | 3.1
Run16 | 6.4 | 1.2 | 3.6
Run17 | 6.8 | 1.2 | 3.7
Run18 | 9.3 | 0.9 | 2.1
Notes: Reliability comparisons to previous runs

## Slide 21
Chart: Mean Time Between Failure, Mean Time To Repair, Average Failure Hours per Day (cryo start to cryo end date)
| Run7 | Run8 | Run9 | Run10 | Run11 | Run12 | Run13 | Run14 | Run15 | Run16 | Run17 | Run18 | Run19 | Run20 | Run21 | Run22 | Run23 | Run24 | Run25 | Run25alt | Run25full
MTBF | 5.3 | 6.3 | 5.5 | 5.5 | 5.7 | 6.9 | 6.6 | 8.6 | 8.1 | 6.4 | 6.8 | 9.3 | 3.9 | 10.3 | 9.89 | 8.6 | 6.05 | 6.38 | 4.96 | 5.35 | 12.37
MTTR | 2 | 1.2 | 1.3 | 1 | 1.2 | 1.1 | 1.2 | 1.3 | 1.1 | 1.2 | 1.2 | 0.9 | 0.5 | 1 | 0.97 | 1.61 | 2.19 | 1.58 | 1.27 | 15.02 | 1.72
Failure hr/day | 6.3 | 3.8 | 4.42 | 3.8 | 4.5 | 3 | 3.5 | 3 | 3.1 | 3.6 | 3.7 | 2.1 | 3.1 | 2.1014 | 2.112 | 3.5903 | 5.7463 | 4.5433 | 4.8269 | 15.4174 | 2.9295
Notes: Reliability comparisons to previous runs

## Slide 22: Availability, expected beam hours
Notes: Normally hidden. Explains how the 85% from DOE comes in to play, & general availability metrics