## Slide 1: sPHENIX Status
Time Meeting
Aug. 26, 2025
Kin Yip
sPHENIX Director of Operations

## Slide 2: sPHENIX Status & Performance
July 26 was one of the best days yet !
APEX 1008B substation power outage
When all sPHENIX detectors were being operated.

## Slide 3: sPHENIX Status & Performance (cont.)
sPHENIX is making every effort to take data as efficiently as possible.
  We fixed a mistake in logic that “TPC Gas Rack” alarms/warnings would close the (KGT) valve for isobutane (Aug. 21).
  Squirrel in 13.8 kV cage caused power outage
  in 8B substation  brought down cooling water (1008C) and magnet (1008B) from 4:33 am to ~noon (Aug. 25).
  Today, we are opening or have opened the magnet pole-tip door to investigate the glycol leak from EMCAL which has apparently affected HCAL operation. Though inefficiency is around 0.065% now, we try to avoid further damage.

## Slide 4: sPHENIX Status & Performance (cont.)