## Slide 1
RRPL Operations
RRPL - Week of 9/29:
  Management Self Assessment (MSA) review was performed 10/1 – 10/3.
RRPL - Week of 10/07:
  Production
    Ac-225 product dispensing and shipment this week
  F&O:
      Installed 5 filters in the new bank enclosure 0801-66c HB7 and 8, completed
      Rooftop unit replacement work October 10 – job walkdown
      Reheat coils developed leak: –in progress
      RRPL Hot Boxes penetration sealing is planned
    Coming weeks:
    Ni/Co Hot Cell set-up in TPL; preparation for BLIP irradiated foil processing
    Th target waste processing in AP hot cells
    Contractor Readiness Review (CRR) is scheduled for 10/20/25 (Nuclear Transition step)

## Slide 2
BLIP Operation – OFF Season Mode
  Chillers require 24-hr for crankcase heater warmup prior to operation. Therefore, cannot immediately switch to backup chiller until installation of electrical panel is performed in the next phase of cooling system upgrade.
  Off-season maintenance/testing:
      Scheduling chillers 1 + 2 Preventative Maintenance for the week of October 13.
      This week weekly alarms testing.
      Rad monitors not communicating with C-AD Main Control room (C-AD SME returning 9/29) )
      dP indication on target water filter not reading correctly. SME from water group discussed purchasing new calibrated gauges and calibrating transducer
      WM received paint can of waste degraders 10/7

## Slide 3
  Commissioning Path Forward: Commissioning has restarted.
    Cyclotron is out of ACS USI and working under module 3 of the commissioning plan.
    RF is operational. RF survey conducted 9/29 per module 2 of the commissioning plan. USI for new access controls ‘testing/tuning modes’ – approved by RSC, forwarded to LESHC; LESHC meeting scheduled for 10/9
  Tuning to dummy target (aluminum)
  Troubleshooting extraction probe issues
  Energy measurement irradiation pending
  New chipmunk installed in control room due to multiple false alarms, MCR received 2 more alarms on 9/24 on new unit . C- AD group informed, awaiting reply. No new alarms received.
  Cobot testing will resume when access to vault is available.
  Scheduling with MPO project manager/Trane to replace combo temp/humidity stat in vault
Cyclotron Activities