## Slide 1
RRPL Operations
RRPL - Week of 10/13:
  Production
    Ac-225 waste processing
    Preparations for CRR
    Coming weeks:
    Ni/Co Hot Cell set-up in TPL; preparation for BLIP irradiated foil processing
    Contractor Readiness Review (CRR) is scheduled for week of 10/20/25 (Nuclear Transition step)

## Slide 2
BLIP Operation – OFF Season Mode
  Chillers require 24-hr for crankcase heater warmup prior to operation. Therefore, cannot immediately switch to backup chiller until installation of electrical panel is performed in the next phase of cooling system upgrade.
  Off-season maintenance/testing:
      Scheduling chillers 1 + 2 Preventative Maintenance for the week of October 13.
      This week weekly alarms testing.
      Rad monitors not communicating with C-AD Main Control room
      dP indication on target water filter not reading correctly. SME from water group discussed purchasing new calibrated gauges and calibrating transducer
      WM received paint can of waste degraders 10/7

## Slide 3
  Commissioning Path Forward: Commissioning has restarted.
    Cyclotron is working under module 3 of the commissioning plan.
    RF is operational. RF survey conducted 9/29 per module 2 of the commissioning plan. USI for new access controls ‘testing/tuning modes’ – approved by RSC, forwarded to LESHC; LESHC meeting took place 10/9, 1 week to review
  Extraction probe issues fixed
  Energy measurement irradiation complete
  Cobot testing will resume when access to vault is available.
  Next step in commissioning plan is Ni target irradiation. Target ready, canning record approved, need RWP to cover target removal operation
  Air compressor maintenance and water backflow preventer testing 10/14.
Cyclotron Activities