## Slide 1
RRPL Operations
RRPL - Week of 10/27:
    Special Operating Restriction: No radiological material work in TPL hot boxes until further notice; USI Evaluation of Discovered Condition for ASE violation related to configuration Control is with the ESH ALD
    CRR continues virtually this week
    Coming weeks:
    Ni/Co Hot Cell set-up in TPL; preparation for BLIP irradiated foil processing
    Be-7 processing in TPL
    F&O:
      Domestic Water Shutdown 11/1/25 0600 - 1400
          Replacement of Domestic Water Line
          Fix two Backflow Devices

## Slide 2
BLIP Operation – OFF Season Mode
  Chillers require 24-hr for crankcase heater warmup prior to operation. Therefore, cannot immediately switch to backup chiller until installation of electrical panel is performed in the next phase of cooling system upgrade.
  Off-season maintenance/testing
      This week weekly alarms testing
      Rad monitors not communicating with C-AD Main Control room - resolved
      dP indication on target water filter not reading correctly. SME from water group discussed purchasing new calibrated gauges and calibrating transducer – still on-going
      Preventive manipulator maintenance – completed

## Slide 3
  Commissioning Path Forward: Commissioning in progress.
    Cyclotron is working under module 3 of the commissioning plan.
    Automatic operation of RF system is repaired. 10/28
    19MeV tune planned for week of 10/27
    USI for new access controls ‘testing/tuning modes’ – LESHC meeting took place 10/9, sent to ESH ALD.
    Cobot (robotic arm for target movement) testing.
  Next step in commissioning plan is Ni target irradiation. Target ready, canning record approved, need RWP to cover target removal operation (in progress)
  WO submitted for filter and fluid change of hydraulic pump.
Cyclotron Activities